**2022 CERTIFIED ELECTRICAL EQUIPMENT OPTIMISATION (Year to date Cost Savings)**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **S/N** | **Selected Electrical Equipment** | **Activities carried out** | **Savings**  **($, NGN)** | **Remark (Contract benchmarking)** |
| 1 | Ex light fittings | Completed Optimization of installed Ex lighting non- Process areas and  14 no identified for replacement with non-Ex at BOGT. | 14 x (2137.05- 50.61)  = $29,210.16 | 1. Ex Light Fitting SAP 1000475796, $ $2137.05 2. Ordinary light fittings   (1) 1000879223 - $50.61,  (2) 1000879220 - $20.64   1. Fluorescent lamps 1000080400 $6.88 |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |