## Spares for Servicing
S/N | IA SUSTATION | GENERATORS/CAPACITY | MATERIAL REQUIREMENT FOR SERVICING | JANUARY 31ST 2024 | FEBRUARY 29TH 2024 | RH DIFFERENCE | SERVICING BASE ON 250RH | SERVICING BASE ON CONDITION MONITORING | REMARK
1 | SUBSTATION.1 | GEN1.1690KVA(D3516) | OIL F.IR-0746,FUEL F.IR-0749,AIR F.8N-6309,2DRUMS RIMULAXW40 | 6328 | 6595 | 267 | DUE | NOVEMBER.2023 Report/Warning
|  | GEN2.1100KVA(C32) | OIL F.IR-0746,FUEL F.IR-0749,AIR F.287-1530&269-7041,1.5DRUMS RIMULAXW40 | 3840.9 | 4136.1 | 295.2 | DUE | NOVEMBER.2023 Report/Warning
2 | SUBSTATION.2 | GEN1.2000KVA(D3516) | OIL F.IR-0746,FUEL F.IR-0749,AIR F208-9065208-9066,2DRUMS RIMULAXW40 | 4770.7 | 4816.8 | 46.1 | NOT DUE | NOVEMBER.2023 Report/Warning
|  | GEN2.1500KVA(D3512) | OIL F.IR-0746,FUEL F.IR-0749,AIR F.8N-3378,2DRUMS RIMULAXW40 | 3074 | 3318 | 244 | NOT DUE | NOVEMBER.2023 Report/Warning
3 | SUBSTATION.4 | GEN1.1000KVA(D3508) | OIL F.IR-0746,FUEL F.IR-0749,AIR 287-1530&269-7041,1.5DRUMS RIMULAXW40 | 19222 | 19553 | 331 | DUE | NOVEMBER.2023 Report/Warning
|  | GEN2.500KVA(D3412) | OIL F.IR-0726,FUEL F.IR-0716,AIR F.8N-6309,1DRUM RIMULXW40 | 6902 | 6902 | 0 | NOT DUE | NOVEMBER.2023 Report/Warning
4 | SUBSTATION.5 | GEN1.725KVA(D3412) | OIL F.IR-0726,FUEL F.IR-0716,AIR F.142-1339,1DRUM RIMULXW40 | 775 | 775 | 0 | NOT DUE | NOVEMBER.2023 Report/Warning
|  | GEN2.810KVA(D3412) | OIL F.IR-0726,FUEL F.IR-0716,AIR F.974-1996,1DRUM RIMULXW40 | 2452 | 2581 | 129 | NOT DUE | NOVEMBER.2023 Report/Warning
5 | SUBSTATION.6 | GEN1.500KVA(D3412) | OIL F.IR-0726,FUEL F.IR-0716,AIR F.974-1996,1DRUM RIMULXW40 | 5343 | 5517 | 174 | NOT DUE | NOVEMBER.2023 Report/Warning
6 | SUBSTATION.7 | GEN1.1500KVA(D3512) | OIL F.IR-0746,FUEL F.IR-0749,AIR F.8N-6309,2DRUMS RIMULAXW40 | 4743.2 | 4795.7 | 52.5 | NOT DUE | NOVEMBER.2023 Report/Warning
|  | GEN2.1825KVA(D3516) | OIL F.IR-0746,FUEL F.IR-0749,AIR F.4P-0710,2DRUMS RIMULAXW40 | 2313 | 2499 | 186 | NOT DUE | NOVEMBER.2023 Report/Warning
|  | GEN3.1100KVA(C32) | OIL F.IR-0746,FUEL F.IR-0749,AIR F.287-1530&269-7041,1.5DRUMS RIMULAXW40 | 5203.9 | 5458 | 254.1 | DUE | NOVEMBER.2023 Report/Warning
7 | SUBSTATION.8 | GEN1.2000KVA(D3516) | OIL F.IR-0746,FUEL F.IR-0749,AIR F.IF-0710,2DRUMS RIMULAXW40 | 3969 | 4058 | 89 | NOT DUE | NOVEMBER.2023 Report/Warning
|  | GEN2.1275KVA(D3512) | OIL F.IR-0746,FUEL F.IR-0749,AIR F.4P-0710,1.5DRUMS RIMULAXW40 | 3743.8 | 3936.9 | 193.1 | NOT DUE | NOVEMBER.2023 Report/Warning
|  | GEN3.2000KVA(D3516) | OIL F.IR-0746,FUEL F.IR-0749,AIR F.IF-0710,1.5DRUMS RIMULAXW40 | 1726.8 | 1985 | 258.2 | DUE | NOVEMBER.2023 Report/Warning
RA SERVICING MATERIALS FOR FEBRUARY 2024
1 | D3508 OIL FILTER | PART NO. 1R-0726 | 0 | 46000 | 0
2 | D3508 OIL FILTER | PART NO. 1R-0756. | 0 | 23000 | 0
3 | D3412 FUEL FILTERS | PART NO. 1R-0749. | 0 | 23000 | 0
4 | D3412 OIL FILTERS | PART NO.1R-0716. | 0 | 46000 | 0
5 | D3508 AIR FILTERS | PART NO. 8N-6309. | 0 | 90000 | 0
7 | D3508 AIR FILTERS | 4P-0710 | 0 | 90000 | 0
8 | LUBE OIL FOR SERVICING. | 11 drum | 0 | 3560.96 | 0
0

## SAVING ON CONDITION MONITORING
COST SAVINGS ON SPARES AND LUBRICATION FOR THE MONTH OF FEBRUARY IA
1 | SUB. 1 GEN 1 | PAT NO. | QTY | UNIT PRICE | AMOUNT | AMOUNT($)
| Oil filter | 1R-0726 | 3 | 46000 | 138000
| Fuel filter | 1R-0749 | 5 | 23000 | 115000
| Air filter | 8N-6309 | 2 | 90000 | 180000
| Rimula Oil | XW40 | 2 |  |  | 3560.96
[5 empty] | 433000 | 7121.92
2 | SUB. 1 GEN 2
| Oil filter | 1R-1808 | 1 | 46000 | 46000
| Fuel filter | 1R-7055 | 5 | 23000 | 115000
| Air filter | 208-9065 | 2 | 295000 | 590000
| Rimula Oil | XW40 | 1 |  |  | 3560.96
[5 empty] | 751000 | 3560.96
3 | Sub.2 Gen 1
| Oil filter | 1R-0726 | 3 | 46000 | 138000
| Fuel filter | 1R-0749 | 5 | 23000 | 115000
| Air filter | 8N-6309 | 2 | 90000 | 180000
| Rimula Oil | XW40 | 2 |  |  | 3560.96
[5 empty] | 433000 | 7121.92
4 | Sub.2 Gen 2
| Oil filter | 1R-0726 | 3 | 46000 | 138000
| Fuel filter | 1R-0749 | 5 | 23000 | 115000
| Air filter | 8N-6309 | 2 | 90000 | 180000
| Rimula Oil | XW40 | 2 |  |  | 3560.96
[5 empty] | 433000 | 7121.92
5 | Sub.4 Gen 1 | PAT NO. | QTY | UNIT PRICE | AMOUNT | AMOUNT ($)
| Oil filter | 1R-0726 | 3 | 46000 | 138000
| Fuel filter | 1R-0749 | 5 | 23000 | 115000
| Air filter | 8N-6309 | 2 | 90000 | 180000
| Rimula Oil | XW40 | 2 |  |  | 3560.96
[5 empty] | 433000 | 7121.92
6 | Sub. 7 Gen 3 | PAT NO. | QTY | UNIT PRICE | AMOUNT | AMOUNT ($)
| Oil filter | 1R-1808 | 1 | 46000 | 46000
| Fuel filter | 1R-7055 | 5 | 23000 | 115000
| Air filter | 208-9065 | 2 | 295000 | 590000
| Rimula Oil | XW40 | 1 |  |  | 3560.96
[5 empty] | 751000 | 3560.96
7 | SUB. 8 GEN 3 | PAT NO. | QTY | UNIT PRICE | AMOUNT | AMOUNT($)
| Oil filter | 1R-0726 | 3 | 46000 | 138000
| Fuel filter | 1R-0749 | 5 | 23000 | 115000
| Air filter | 8N-6309 | 2 | 90000 | 180000
| Rimula Oil | XW40 | 2 |  |  | 3560.96
[5 empty] | 433000 | 7121.92
|  |  | IA SAVINGS |  | 3667000 | 42731.52
|  |  | RA SAVINGS |  | 0 | 0
[5 empty] | 3667000 | 42731.52