## SPARES FOR SERVICING
JULY 2024 IA COST SAVING AS A RESULT OF OEM/ CONDITION MONITORING
S/N | IA SUSTATION | GENERATORS/CAPACITY | MATERIAL REQUIREMENT FOR SERVICING | JULY 1ST 2024 | JULY 31ST 2024 | RH DIFFERENCE | SERVICING BASE ON 250RH | SERVICING BASE ON CONDITION MONITORING | REMARK
1 | SUBSTATION.1 | GEN1.1690KVA(D3516) | OIL F.IR-0746,FUEL F.IR-0749,AIR F.8N-6309,2DRUMS RIMULAXW40 | 6828 | 6828 | 0 | NOT DUE | JULY 2024 Report/Warning
|  | GEN2.1100KVA(C32) | OIL F.IR-0746,FUEL F.IR-0749,AIR F.287-1530&269-7041,1.5DRUMS RIMULAXW40 | 5036.2 | 5100.4 | 64.2 | NOT DUE | JULY 2024 Report/Warning
2 | SUBSTATION.2 | GEN1.2000KVA(D3516) | OIL F.IR-0746,FUEL F.IR-0749,AIR F208-9065208-9066,2DRUMS RIMULAXW40 | 4923.1 | 4923.1 | 0 | NOT DUE | JULY 2024 Report/Warning
|  | GEN2.1500KVA(D3512) | OIL F.IR-0746,FUEL F.IR-0749,AIR F.8N-3378,2DRUMS RIMULAXW40 | 4204.4 | 4272.2 | 67.8 | NOT DUE | JULY 2024 Report/Warning
3 | SUBSTATION.4 | GEN1.1000KVA(D3508) | OIL F.IR-0746,FUEL F.IR-0749,AIR 287-1530&269-7041,1.5DRUMS RIMULAXW40 | 20321 | 20342 | 21 | NOT DUE | JULY 2024 Report/Warning
|  | GEN2.500KVA(D3412) | OIL F.IR-0726,FUEL F.IR-0716,AIR F.8N-6309,1DRUM RIMULXW40 | 18 | 44 | 26 | NOT DUE | JULY 2024 Report/Warning
4 | SUBSTATION.5 | GEN1.725KVA(D3412) | OIL F.IR-0726,FUEL F.IR-0716,AIR F.142-1339,1DRUM RIMULXW40 | 775 | 775 | 0 | NOT DUE | JULY 2024 Report/Warning
|  | GEN2.810KVA(D3412) | OIL F.IR-0726,FUEL F.IR-0716,AIR F.974-1996,1DRUM RIMULXW40 | 3582 | 3634 | 52 | NOT DUE | JULY 2024 Report/Warning
5 | SUBSTATION.6 | GEN1.500KVA(D3412) | OIL F.IR-0726,FUEL F.IR-0716,AIR F.974-1996,1DRUM RIMULXW40 | 2708 | 2764 | 56 | NOT DUE | JULY 2024 Report/Warning
6 | SUBSTATION.7 | GEN1.1500KVA(D3512) | OIL F.IR-0746,FUEL F.IR-0749,AIR F.8N-6309,2DRUMS RIMULAXW40 | 4946 | 4946 | 0 | NOT DUE | JULY 2024 Report/Warning
|  | GEN2.1825KVA(D3516) | OIL F.IR-0746,FUEL F.IR-0749,AIR F.4P-0710,2DRUMS RIMULAXW40 | 3625 | 3689 | 64 | NOT DUE | JULY 2024 Report/Warning
|  | GEN3.1100KVA(C32) | OIL F.IR-0746,FUEL F.IR-0749,AIR F.287-1530&269-7041,1.5DRUMS RIMULAXW40 | 6669.6 | 6729.1 | 59.5 | NOT DUE | JULY 2024 Report/Warning
7 | SUBSTATION.8 | GEN1.2000KVA(D3516) | OIL F.IR-0746,FUEL F.IR-0749,AIR F.IF-0710,2DRUMS RIMULAXW40 | 4776 | 4777 | 1 | NOT DUE | JULY 2024 Report/Warning
|  | GEN2.1275KVA(D3512) | OIL F.IR-0746,FUEL F.IR-0749,AIR F.4P-0710,1.5DRUMS RIMULAXW40 | 4951.8 | 5004.2 | 52.4 | NOT DUE | JULY 2024 Report/Warning
|  | GEN3.2000KVA(D3516) | OIL F.IR-0746,FUEL F.IR-0749,AIR F.IF-0710,1.5DRUMS RIMULAXW40 | 2232.4 | 2286 | 53.6 | NOT DUE | JULY 2024 Report/Warning
RA SERVICING MATERIALS FOR JULY 2024
1 | D3508 FUEL FILTER | PART NO. 1R-0726 | 25 | 46000 | 1150000
2 | D3508 OIL FILTER | PART NO. 1R-0756. | 15 | 23000 | 345000
3 | D3412 FUEL FILTERS | PART NO. 1R-0749. | 4 | 23000 | 92000
4 | D3412 OIL FILTERS | PART NO.1R-0716. | 4 | 46000 | 184000
5 | D3508 AIR FILTERS | PART NO. 8N-6309. | 0 | 90000 | 0
7 | D3508 AIR FILTERS | 4P-0710 | 0 | 90000 | 0
8 | LUBE OIL FOR SERVICING. | 16 drums | 11 | 3560.96 | 39170.56
0

## SAVING ON CONDITION MONITORING
COST SAVINGS ON SPARES AND LUBRICATION FOR THE MONTH OF JULY 2024 IA /RA
|  | NAIRA (#) | DOLLAR ($)
| IA SAVINGS | 0 | 0
| RA SAVINGS | 1771000 | 39170.56
|  | 1771000 | 39170.56