## Sheet1
Main work center | Basic start date | Basic finish date | Estimated costs | Functional Location | Order | System status | Maintenance Plan | Order Type | Description | FunctLocDescrip. | User Status | Actual start date | Original Due Date | Notification | Actual Finish Date
ST1MECH | 2018-01-10 | 2018-01-10 | 1216 | NG.SBKF1.P1-P1DRV | 22615718 | TECO CNF PRT CSER NMAT PRC SETC | 100013746 | 72FP | 1M CM-CATG3408/SUL MSDD4 PUMP MEC SBKF1 | DRIVER, PUMP SET 1, SBNK F/S | XCNF WPOK XGI | 2018-01-10 | 2018-01-08 | 11616561 | 2018-01-10
ST1MECH | 2018-02-11 | 2018-02-11 | 1216 | NG.SBKF1.P1-P1DRV | 22623203 | TECO CNF PRT CSER NMAT PRC SETC | 100013746 | 72FP | 1M CM-CATG3408/SUL MSDD4 PUMP MEC SBKF1 | DRIVER, PUMP SET 1, SBNK F/S | XCNF WPOK XGI | 2018-02-11 | 2018-02-07 | 11623649 | 2018-02-11
ST1MECH | 2018-03-11 | 2018-03-11 | 1216 | NG.SBKF1.P1-P1DRV | 22630725 | TECO CNF PRT CSER NMAT PRC SETC | 100013746 | 72FP | 1M CM-CATG3408/SUL MSDD4 PUMP MEC SBKF1 | DRIVER, PUMP SET 1, SBNK F/S | XCNF WPOK XGI | 2018-03-11 | 2018-03-09 | 11630133 | 2018-03-11
ST1MECH | 2018-04-05 | 2018-04-05 | 1824 | NG.SBKF1.P1-P1DRV | 22638779 | TECO CNF PRT CSER NMAT PRC SETC | 100013746 | 72FP | 1M CM-CATG3408/SUL MSDD4 PUMP MEC SBKF1 | DRIVER, PUMP SET 1, SBNK F/S | XCNF WPOK XGI | 2018-04-05 | 2018-04-08 | 11635332 | 2018-04-05
ST1MECH | 2018-05-08 | 2018-05-08 | 1216 | NG.SBKF1.P1-P1DRV | 22646137 | TECO CNF PRT CSER NMAT PRC SETC | 100013746 | 72FP | 1M CM-CATG3408/SUL MSDD4 PUMP MEC SBKF1 | DRIVER, PUMP SET 1, SBNK F/S | XCNF WPOK XGI | 2018-05-08 | 2018-05-08 | 11642726 | 2018-05-08
ST1MECH | 2018-01-30 | 2018-01-31 | 1216 | NG.SBKF1.P1-P1LOD | 22574724 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100045205 | 72FP | 1M SULZER MSDD4 CENTRIF PUMP PM MEC SBKF | PUMP, PUMP SET 1, SBNK F/S | XCNF WPOK XGI | 2018-01-30 | 2018-02-05 | 11620838 | 2018-01-31
ST1MECH | 2018-02-28 | 2018-02-28 | 1824 | NG.SBKF1.P1-P1LOD | 22586584 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100045205 | 72FP | 1M SULZER MSDD4 CENTRIF PUMP PM MEC SBKF | PUMP, PUMP SET 1, SBNK F/S | XCNF WPOK XGI | 2018-02-28 | 2018-03-07 | 11627504 | 2018-02-28
ST1MECH | 2018-03-24 | 2018-03-24 | 1216 | NG.SBKF1.P1-P1LOD | 22594543 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100045205 | 72FP | 1M SULZER MSDD4 CENTRIF PUMP PM MEC SBKF | PUMP, PUMP SET 1, SBNK F/S | XCNF WPOK XGI | 2018-03-24 | 2018-04-06 | 11632857 | 2018-03-24
ST1MECH | 2018-05-01 | 2018-05-01 | 608 | NG.SBKF1.P1-P1LOD | 22603398 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100045205 | 72FP | 1M SULZER MSDD4 CENTRIF PUMP PM MEC SBKF | PUMP, PUMP SET 1, SBNK F/S | XCNF WPOK XGI | 2018-05-01 | 2018-05-06 | 11640940 | 2018-05-01
ST1MECH | 2018-05-20 | 2018-05-20 | 608 | NG.SBKF1.P1-P1LOD | 22615717 | TECO CNF ESTC CSER ILAS NMAT PRC SETC | 100045205 | 72FP | 1M SULZER MSDD4 CENTRIF PUMP PM MEC SBKF | PUMP, PUMP SET 1, SBNK F/S | XCNF XGI | 2018-05-20 | 2018-06-05 | 11645581 | 2018-05-20
ST1MECH | 2018-07-01 | 2018-07-01 | 608 | NG.SBKF1.P1-P1LOD | 22623211 | REL CNF PRT CSER ILAS NMAT PRC SETC | 100045205 | 72FP | 1M SULZER MSDD4 CENTRIF PUMP PM MEC SBKF | PUMP, PUMP SET 1, SBNK F/S | EXEC | 2018-07-01 | 2018-07-05 | 11654891 | 2018-07-01
ST1MECH | 2018-01-09 | 2018-01-09 | 1296 | NG.SBKF1.P2-P2DRV | 22615721 | TECO CNF ESTC CSER NMAT PRC SETC | 100013747 | 72FP | 1M CM-CATG3408/SUL MSDD4 PUMP MEC SBKF1 | DRV, PUMP SET 2, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-01-09 | 2018-01-08 | 11616364 | 2018-01-09
ST1MECH | 2018-02-07 | 2018-02-07 | 1216 | NG.SBKF1.P2-P2DRV | 22623205 | TECO CNF PRT CSER NMAT PRC SETC | 100013747 | 72FP | 1M CM-CATG3408/SUL MSDD4 PUMP MEC SBKF1 | DRV, PUMP SET 2, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-02-07 | 2018-02-07 | 11622693 | 2018-02-07
ST1MECH | 2018-03-09 | 2018-03-09 | 1216 | NG.SBKF1.P2-P2DRV | 22630726 | TECO CNF PRT CSER NMAT PRC SETC | 100013747 | 72FP | 1M CM-CATG3408/SUL MSDD4 PUMP MEC SBKF1 | DRV, PUMP SET 2, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-03-09 | 2018-03-09 | 11629480 | 2018-03-09
ST1MECH | 2018-04-08 | 2018-04-08 | 1824 | NG.SBKF1.P2-P2DRV | 22638781 | TECO CNF PRT CSER NMAT PRC SETC | 100013747 | 72FP | 1M CM-CATG3408/SUL MSDD4 PUMP MEC SBKF1 | DRV, PUMP SET 2, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-04-08 | 2018-04-08 | 11635994 | 2018-04-08
ST1MECH | 2018-05-08 | 2018-05-08 | 1216 | NG.SBKF1.P2-P2DRV | 22646138 | TECO CNF PRT CSER NMAT PRC SETC | 100013747 | 72FP | 1M CM-CATG3408/SUL MSDD4 PUMP MEC SBKF1 | DRV, PUMP SET 2, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-05-08 | 2018-05-08 | 11642727 | 2018-05-08
ST1MECH | 2018-01-31 | 2018-01-31 | 912 | NG.SBKF1.P2-P2LOD | 22574725 | TECO CNF ESTC CSER ILAS NMAT PRC SETC | 100045206 | 72FP | 1M SULZER MSDD4 CENTRIFUGAL PUMP-SBKF1 | PUMP, PUMP SET 2, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-01-31 | 2018-02-05 | 11620840 | 2018-01-31
ST1MECH | 2018-03-03 | 2018-03-03 | 1824 | NG.SBKF1.P2-P2LOD | 22586585 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100045206 | 72FP | 1M SULZER MSDD4 CENTRIFUGAL PUMP-SBKF1 | PUMP, PUMP SET 2, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-03-03 | 2018-03-07 | 11628191 | 2018-03-03
ST1MECH | 2018-03-22 | 2018-03-22 | 1216 | NG.SBKF1.P2-P2LOD | 22594544 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100045206 | 72FP | 1M SULZER MSDD4 CENTRIFUGAL PUMP-SBKF1 | PUMP, PUMP SET 2, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-03-22 | 2018-04-06 | 11632550 | 2018-03-22
ST1MECH | 2018-05-03 | 2018-05-03 | 608 | NG.SBKF1.P2-P2LOD | 22603399 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100045206 | 72FP | 1M SULZER MSDD4 CENTRIFUGAL PUMP-SBKF1 | PUMP, PUMP SET 2, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-05-03 | 2018-05-06 | 11641508 | 2018-05-03
ST1MECH | 2018-05-20 | 2018-05-20 | 608 | NG.SBKF1.P2-P2LOD | 22615719 | TECO CNF ESTC CSER ILAS NMAT PRC SETC | 100045206 | 72FP | 1M SULZER MSDD4 CENTRIFUGAL PUMP-SBKF1 | PUMP, PUMP SET 2, SOUTHBANK FLOWSTATION | XCNF XGI | 2018-05-20 | 2018-06-05 | 11645582 | 2018-05-20
ST1MECH | 2018-07-01 | 2018-07-01 | 608 | NG.SBKF1.P2-P2LOD | 22623212 | REL CNF PRT CSER ILAS NMAT PRC SETC | 100045206 | 72FP | 1M SULZER MSDD4 CENTRIFUGAL PUMP-SBKF1 | PUMP, PUMP SET 2, SOUTHBANK FLOWSTATION | EXEC WPOK | 2018-07-01 | 2018-07-05 | 11654893 | 2018-07-01
ST1MECH | 2018-01-22 | 2018-01-23 | 2432 | NG.SBKF1.P4-P4LOD | 22505655 | REL CNF PRT CSER ILAS NMAT PRC SETC | 100045213 | 72FP | 1Y CAT G3408/ EMSCO D225 PP PKG SBKF1 | PUMP, PUMP SET 4, SOUTHBANK FLOWSTATION | EXEC WPOK | 2018-01-22 | 2018-02-06 | 11619379 | 2018-01-23
ST1MECH | 2018-01-31 | 2018-01-31 | 1216 | NG.SBKF1.P5-P5DRV | 22591640 | TECO CNF ESTC CSER NMAT PRC SETC | 100013608 | 72FP | 3M CM CATG3408/ EMSCO D225 PP MEC SBKF1 | DRV, PUMP SET 5, SOUTHBANK FLOWSTATION | XCNF XGI | 2018-01-31 | 2018-02-05 | 11620842 | 2018-01-31
ST1MECH | 2018-05-06 | 2018-05-06 | 608 | NG.SBKF1.P5-P5DRV | 22620653 | TECO CNF PRT CSER NMAT PRC SETC | 100013608 | 72FP | 3M CM CATG3408/ D225 EMSCO PP MEC SBKF1 | DRV, PUMP SET 5, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-05-06 | 2018-05-06 | 11642266 | 2018-05-06
ST1MECH | 2018-01-22 | 2018-01-22 | 1216 | NG.SBKF1.P5-P5LOD | 22574726 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100045207 | 72FP | 1M EMSCO D225 CENT PUMP PM MEC SBKF1 | PUMP, PUMP SET 5, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-01-22 | 2018-02-05 | 11619158 | 2018-01-22
ST1MECH | 2018-03-03 | 2018-03-03 | 1216 | NG.SBKF1.P5-P5LOD | 22586586 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100045207 | 72FP | 1M EMSCO D225 CENT PUMP PM MEC SBKF1 | PUMP, PUMP SET 5, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-03-03 | 2018-03-07 | 11628192 | 2018-03-03
ST1MECH | 2018-03-28 | 2018-03-28 | 1216 | NG.SBKF1.P5-P5LOD | 22594545 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100045207 | 72FP | 3M EMSCO D225 CENT PUMP PM MEC SBKF1 | PUMP, PUMP SET 5, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-03-28 | 2018-04-06 | 11633730 | 2018-03-28
ST1MECH | 2018-05-02 | 2018-05-02 | 1216 | NG.SBKF1.P5-P5LOD | 22603400 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100045207 | 72FP | 1M EMSCO D225 CENT PUMP PM MEC SBKF1 | PUMP, PUMP SET 5, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-05-02 | 2018-05-06 | 11641220 | 2018-05-02
ST1MECH | 2018-02-27 | 2018-02-27 | 1216 | NG.SBKF1.P5-P5LOD | 22606975 | TECO CNF PRT CSER NMAT PRC SETC | 100013738 | 72FP | 3M CM CAT G3408/ EMSCO D225 PP PKG SBKF1 | PUMP, PUMP SET 5, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-02-27 | 2018-02-06 | 11627356 | 2018-02-27
ST1MECH | 2018-05-22 | 2018-05-22 | 608 | NG.SBKF1.P5-P5LOD | 22615720 | TECO CNF ESTC CSER ILAS NMAT PRC SETC | 100045207 | 72FP | 1M EMSCO D225 CENT PUMP PM MEC SBKF1 | PUMP, PUMP SET 5, SOUTHBANK FLOWSTATION | XCNF XGI | 2018-05-22 | 2018-06-05 | 11646154 | 2018-05-22
ST1MECH | 2018-06-29 | 2018-06-29 | 304 | NG.SBKF1.P5-P5LOD | 22623213 | REL CNF PRT CSER ILAS NMAT PRC SETC | 100045207 | 72FP | 6M EMSCO D225 CENT PUMP PM MEC SBKF1 | PUMP, PUMP SET 5, SOUTHBANK FLOWSTATION | EXEC | 2018-06-29 | 2018-07-05 | 11654521 | 2018-06-29
ST1MECH | 2018-05-16 | 2018-05-16 | 608 | NG.SBKF1.P5-P5LOD | 22634268 | TECO CNF PRT CSER NMAT PRC SETC | 100013738 | 72FP | 3M CM CAT G3408/ EMSCO D225 PP PKG SBKF1 | PUMP, PUMP SET 5, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-05-16 | 2018-05-07 | 11644826 | 2018-05-16
ST1MECH | 2018-02-22 | 2018-02-22 | 1824 | NG.SBKF1.P7-P7DRV | 22591820 | TECO CNF PRT CSER NMAT PRC SETC | 100013750 | 72FP | 3M CM CATG3408/EMSCO D225 PUMP MEC SBKF1 | DRV, PUMP SET 7, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-02-22 | 2018-02-07 | 11626329 | 2018-02-22
ST1MECH | 2018-05-09 | 2018-05-09 | 608 | NG.SBKF1.P7-P7DRV | 22621207 | TECO CNF PRT CSER NMAT PRC SETC | 100013750 | 72FP | 3M CM CATG3408/D225 EMSCO0 PUMP MEC SBKF | DRV, PUMP SET 7, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-05-09 | 2018-05-08 | 11643132 | 2018-05-09
ST1MECH | 2018-02-01 | 2018-02-01 | 1216 | NG.SBKF1.P7-P7LOD | 22574727 | TECO CNF ESTC CSER ILAS NMAT PRC SETC | 100045208 | 72FP | 1M EMSCO D225 CENT PUMP PM MEC SBKF1 | PUMP , PUMP SET 7, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-02-01 | 2018-02-05 | 11621178 | 2018-02-01
ST1MECH | 2018-03-01 | 2018-03-01 | 1216 | NG.SBKF1.P7-P7LOD | 22586587 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100045208 | 72FP | 1M EMSCO D225 CENT PUMP PM MEC SBKF1 | PUMP , PUMP SET 7, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-03-01 | 2018-03-07 | 11627669 | 2018-03-01
ST1MECH | 2018-03-28 | 2018-03-28 | 1216 | NG.SBKF1.P7-P7LOD | 22594546 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100045208 | 72FP | 3M EMSCO D225 CENT PUMP PM MEC SBKF1 | PUMP , PUMP SET 7, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-03-28 | 2018-04-06 | 11633731 | 2018-03-28
ST1MECH | 2018-05-02 | 2018-05-02 | 1216 | NG.SBKF1.P7-P7LOD | 22603401 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100045208 | 72FP | 1M EMSCO D225 CENT PUMP PM MEC SBKF1 | PUMP , PUMP SET 7, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-05-02 | 2018-05-06 | 11641221 | 2018-05-02
ST1MECH | 2018-01-29 | 2018-01-29 | 1216 | NG.SBKF1.P7-P7LOD | 22606977 | TECO CNF ESTC CSER NMAT PRC SETC | 100013739 | 72FP | 3M CM CAT G3408/ EMSCO D225 PP PKG SBKF1 | PUMP , PUMP SET 7, SOUTHBANK FLOWSTATION | XCNF XGI | 2018-01-29 | 2018-02-06 | 11620532 | 2018-01-29
ST1MECH | 2018-05-23 | 2018-05-23 | 608 | NG.SBKF1.P7-P7LOD | 22615722 | TECO CNF ESTC CSER ILAS NMAT PRC SETC | 100045208 | 72FP | 1M EMSCO D225 CENT PUMP PM MEC SBKF1 | PUMP , PUMP SET 7, SOUTHBANK FLOWSTATION | XCNF XGI | 2018-05-23 | 2018-06-05 | 11646275 | 2018-05-23
ST1MECH | 2018-06-25 | 2018-06-25 | 304 | NG.SBKF1.P7-P7LOD | 22623214 | REL CNF PRT CSER ILAS NMAT PRC SETC | 100045208 | 72FP | 6M EMSCO D225 CENT PUMP PM MEC SBKF1 | PUMP , PUMP SET 7, SOUTHBANK FLOWSTATION | EXEC WPOK | 2018-06-25 | 2018-07-05 | 11653622 | 2018-06-25
ST1MECH | 2018-05-16 | 2018-05-16 | 608 | NG.SBKF1.P7-P7LOD | 22634269 | TECO CNF PRT CSER NMAT PRC SETC | 100013739 | 72FP | 3M CM CAT G3408/ EMSCO D225 PP PKG SBKF1 | PUMP , PUMP SET 7, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-05-16 | 2018-05-07 | 11644832 | 2018-05-16
ST1MECH | 2018-01-12 | 2018-01-13 | 1216 | NG.SBKF1.P9-P9LOD | 22568676 | TECO CNF ESTC CSER ILAS NMAT PRC SETC | 100067101 | 72FP | 1M EMSCO D225 CENT PUMP 9 PM MEC SBKF | PUMP , PUMP SET 9, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-01-12 | 2018-01-20 | 11617007 | 2018-01-13
ST1MECH | 2018-03-20 | 2018-03-20 | 532 | NG.SBKF1.P9-P9LOD | 22580870 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100051600 | 72FP | 3M OIL RECIPROCATING PUMP TEST SBKF1 | PUMP , PUMP SET 9, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-03-20 | 2018-03-30 | 11632100 | 2018-03-20
ST1MECH | 2018-02-13 | 2018-02-13 | 1216 | NG.SBKF1.P9-P9LOD | 22581224 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100067101 | 72FP | 1M EMSCO D225 CENT PUMP 9 PM MEC SBKF | PUMP , PUMP SET 9, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-02-13 | 2018-02-19 | 11624106 | 2018-02-13
ST1MECH | 2018-03-09 | 2018-03-09 | 1216 | NG.SBKF1.P9-P9LOD | 22590171 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100067101 | 72FP | 3M EMSCO D225 CENT PUMP 9 PM MEC S | PUMP , PUMP SET 9, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-03-09 | 2018-03-21 | 11629478 | 2018-03-09
ST1MECH | 2018-04-10 | 2018-04-10 | 1216 | NG.SBKF1.P9-P9LOD | 22598563 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100067101 | 72FP | 1M EMSCO D225 CENT PUMP 9 PM MEC SBKF | PUMP , PUMP SET 9, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-04-10 | 2018-04-20 | 11636483 | 2018-04-10
ST1MECH | 2018-06-20 | 2018-06-20 | 228 | NG.SBKF1.P9-P9LOD | 22606688 | TECO CNF ESTC CSER ILAS NMAT PRC SETC | 100051600 | 72FP | 3M OIL RECIPROCATING PUMP TEST SBKF1 | PUMP , PUMP SET 9, SOUTHBANK FLOWSTATION | XCNF XGI | 2018-06-20 | 2018-06-28 | 11652811 | 2018-06-20
ST1MECH | 2018-05-11 | 2018-05-11 | 608 | NG.SBKF1.P9-P9LOD | 22607054 | REL CNF PRT CSER ILAS NMAT PRC SETC | 100067101 | 72FP | 1M EMSCO D225 CENT PUMP 9 PM MEC SBKF | PUMP , PUMP SET 9, SOUTHBANK FLOWSTATION | EXEC WPOK | 2018-05-11 | 2018-05-20 | 11647607 | 2018-05-11
ST1MECH | 2018-05-31 | 2018-05-31 | 608 | NG.SBKF1.P9-P9LOD | 22619067 | TECO CNF PRT CSER ILAS NMAT PRC SETC | 100067101 | 72FP | 6M EMSCO D225 CENT PUMP 9 PM MEC S | PUMP , PUMP SET 9, SOUTHBANK FLOWSTATION | XCNF WPOK XGI | 2018-05-31 | 2018-06-19 | 11648035 | 2018-05-31
ST1MECH | 2018-02-10 | 2018-02-10 | 2432 | NG.SBKF1.G501-G501DRV | 22566535 | TECO CNF PRT CSER NMAT PRC SETC | 100063021 | 72FP | 24 CATERPILLAR G3408 GAS ENGINE PM | DRIVER GENERATOR SET 1 [GAS], SBNK F/S | XCNF WPOK XGI | 2018-02-10 | 2017-08-18 | 11623483 | 2018-02-10
ST1MECH | 2018-01-14 | 2018-01-15 | 1216 | NG.SBKF1.G501-G501DRV | 22617418 | TECO CNF ESTC CSER NMAT PRC SETC | 100063021 | 72FP | 1M CATERPILLAR G3408 GAS ENGINE PM | DRIVER GENERATOR SET 1 [GAS], SBNK F/S | XCNF WPOK XGI | 2018-01-14 | 2018-01-15 | 11617490 | 2018-01-15
ST1MECH | 2018-02-15 | 2018-02-15 | 1216 | NG.SBKF1.G501-G501DRV | 22624962 | TECO CNF PRT CSER NMAT PRC SETC | 100063021 | 72FP | 1M CATERPILLAR G3408 GAS ENGINE PM | DRIVER GENERATOR SET 1 [GAS], SBNK F/S | XCNF WPOK XGI | 2018-02-15 | 2018-02-14 | 11624766 | 2018-02-15
ST1MECH | 2018-03-16 | 2018-03-16 | 1216 | NG.SBKF1.G501-G501DRV | 22632500 | TECO CNF PRT CSER NMAT PRC SETC | 100063021 | 72FP | 1M CATERPILLAR G3408 GAS ENGINE PM | DRIVER GENERATOR SET 1 [GAS], SBNK F/S | XCNF WPOK XGI | 2018-03-16 | 2018-03-16 | 11631334 | 2018-03-16
ST1MECH | 2018-04-13 | 2018-04-13 | 1216 | NG.SBKF1.G501-G501DRV | 22640545 | TECO CNF PRT CSER NMAT PRC SETC | 100063021 | 72FP | 1M CATERPILLAR G3408 GAS ENGINE PM | DRIVER GENERATOR SET 1 [GAS], SBNK F/S | XCNF WPOK XGI | 2018-04-13 | 2018-04-15 | 11637307 | 2018-04-13
ST1ELEC | 2018-02-06 | 2018-02-06 | 608 | NG.SBKF1.G501-G501LOD | 22540692 | TECO CNF PRT CSER NMAT PRC SETC | 100013547 | 72FP | 6M SR4 ALTERNATOR PM ELEC SBKF1 | ALTERNATOR , GEN SET 1, SBNK F/S | XCNF WPOK XGI | 2018-02-06 | 2018-02-01 | 11622897 | 2018-02-06
|  | TOTAL $ | 61944
ESTIMATED COST OF MAINTAINING ALL ENGINES AND PUMPS IN THE OLD SOUTH BANK FACILITY FROM JANUARY 2018 TO JUNE 2018 ( 6 MONTH PERIOD) BEFORE DECOMISSION /SUSPENSION OF MAINTAINANCE PLAN. SO FOR THE REMAINING HALF OF THE YEAR WE HAVE SAVED $ 61,944.00
Cost of lub. oil and filters Q1 for Tunu |  |  | 1200
63144
FCF |  |  | 2841.48