## SUMMARY
LIGHTING FITTINGS SPECIFCATIONS
| EXISTING FLUORESCENT LIGHTING FITTINGS | 1 X 18W Batten Fluorescent Fittings (1 X 600mm) | 1 X 36W Batten Fluorescent Fittings (1 X 1200mm) | 2 X 36W Batten Fluorescent Fittings (2 X 1200mm) | 2 X 36W Ceiling Reccessed Modular Fluorescent Fittings (2 X 1200mm) | 2 X 36W WEATHERPROOF Fluorescent Fittings (2 X 1200mm) | 2 X 36W Ex Flourescent Fittings (2 X 1200mm) | 4 X 18W Ceiling Reccessed Modular Fluorescent Fittings (600 X 600mm) | 4 X 18W Ceiling Reccessed Modular Fluorescent Fittings Maintained emergency (600 X 600mm) | 4 X 36W Ceiling Reccessed Modular Fluorescent Fittings (4 X 1200mm) | 2 X 58W Batten Fluorescent Fittings (2 X 1520mm)
| LIGHTING FITTING POWER (W) | 18 | 36 | 72 | 72 | 72 | 72 | 72 | 72 | 144 | 116
S/N | LOCATION | QTY | QTY | QTY | QTY | QTY | QTY | QTY | QTY | QTY | QTY
1 | A1 - BLOCK
2 | A1 - ANNEX | 4 |  | 18
3 | A2 - BLOCK -IA CLUB |  |  | 120 |  |  |  | 116 | 0
4 | A3-BLOCK | 5 |  | 59 |  |  |  | 67
5 | A3- LANDS | [6 empty] | 36
6 | A4-BLOCK |  | 14 | 103 |  |  |  | 70 |  |  | 117
7 | A5-BLOCK | [6 empty] | 68 |  |  | 0
8 | A6-BLOCK |  | 0 | 6 |  |  |  | 110 |  |  | 0
9 | A7-BLOCK |  |  |  |  | 21 | 90 | 363
10 | A8-BLOCK - GROUND FLOOR | [6 empty] | 92
11 | A8-BLOCK - FIRST FLOOR
12 | A9-BLOCK - GROUND FLOOR | [6 empty] | 145
13 | A9-BLOCK - FIRST FLOOR
14 | ACCESS CONTROL-BLOCK |  |  | 6 |  |  |  | 41
15 | B1-BLOCK
16 | B1-BLOCK - FRST BANK | [6 empty] | 18
17 | B1-BLOCK - LIBRARY |  |  |  | 46
18 | B2-BLOCK
19
20 | B3-BLOCK |  |  | 9 |  |  |  | 1293 |  | 134 | 0
21 | B4-BLOCK |  |  | 35 | 112 |  |  | 896
22 | B4- FFLR C- ( VRC - 137 )
23 | B4- FFLR C- ( IT Training Center -138-144 )
24 | C- BUILDINGS | 6 |  |  | 8 |  |  | 47
25 | E- ( WORKSHOPS ) |  |  | 520 |  |  | 9 | 353
26 | E4- BUILDINGS | 2 | [5 empty] | 25
27 | FILLING STATION | [5 empty] | 20
28 | FIRE GROUND | 2 | [5 empty] | 23
29 | H- BLOCKS ( MEDICAL ) | [6 empty] | 559
30 | L - BUILDINGS |  |  | 193 |  |  |  | 246
31 | IA GATES | 27 |  | 42 |  | 18 |  | 9
32 | MEDICAL WASTE INCINERATOR BUILDING | 3 |  | 21 |  | 15
33 | M1/M2 BLOCK |  |  | 83 |  | 1 |  | 42
34 | M3/M4 BLOCK |  |  | 3 |  |  |  | 278
35 | MS-BUILDINGS |  |  | 54 |  |  |  | 210
36 | P1-BLOCK |  |  | 6 |  |  |  | 110
37 | P2- - BLOCK |  |  | 28 |  |  |  | 46
38 | P3 - BLOCK |  |  | 1 |  |  |  | 441
39 | P4 - BLOCK |  |  | 44 |  |  |  | 174 |  |  | 40
40 | P5 - BLOCK |  |  | 88 |  |  |  | 0 | 94
41 | PORTA HOUSE - ( MAIN BLOCK ) | 6 |  | 73 |  | 2
42 | PORTA HOUSE - ( EXTENSION BLOCK ) |  |  |  |  | 1 |  | 56
43 | PREFAB A & B - BLOCKS | [6 empty] | 96
44 | PREFAB C- BLOCK | 16 |  | 219 |  |  |  | 2
45 | CRECHE -BLOCK -1 (OLD) |  |  | 60 |  |  |  | 15
46 | CRECHE -BLOCK - 2 (NEW)
47 | PREFAB D - BLOCK |  |  |  |  | 1 |  | 70
48 | PREFAB E - BLOCK |  |  | 60 |  | 1
49 | PREFAB G- BLOCK |  |  | 64 |  | 2
50 | PREFAB F & H - BLOCKS | 8 | 0 | 118 |  | 3 |  | 10
51 | PORTAKABINS | 5 | 1 | 80 |  |  |  | 39
52 | PRODECO 5 & 6 - BLOCKS | 12 |  | 112
53 | POICE BARRACK BLOCKS |  | 1 | 155 | 8 | 8 |  | 408
54 | IA-200 - BLOCK | [6 empty] | 256 | 115
55 | ISOLATION CENTER |  |  | 8 |  |  |  | 16
56 | IS -( Molecular lab )
57 | TRAINING SCHOOL - BLOCKS | 10 |  | 85 |  | 27 | 32 | 123
58 | TRS -2 (Restaurant)
59 | VENDOR SERVICES - BLOCKS |  |  | 2 |  |  |  | 165
60 | IA WAREHOUSE - BLOCKS | 48 |  | 364 |  | 12 |  | 223
A | Total | 154 | 46 | 2839 | 174 | 112 | 151 | 7357 | 209 | 134 | 157
B | Unit Cost ( NGN) | 8000 | 10000 | 12000 | 30000 | 30000 | 270756 | 35000 | 45000 | 40000 | 35000
| Life Cycle cost for one fitting in 20yrs | 34250 | 58750 | 95750 | 113750 | 113750 | 354506 | 126250 | 136250 | 207500 | 141000
C | Estimated Changeout frequency per year (Change out frequency per fitting life span of 20 years) | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
D | Energy Consumption | 2772 | 1656 | 204408 | 12528 | 8064 | 10872 | 529704 | 15048 | 19296 | 18212
| THORN LED EQUIVALENT | Thorn 96635575 EMMA VARIOFLEX 600 2000 LED 4000K, Batten Fittings | Thorn EMMA VARIOFLEX 1200 4000 830/35/40 96635574 LED BattenFittings | Thorn EMMA VARIOFLEX 1200 4000 830/35/40 96635574 LED BattenFittings | Thorn ANNA VARIOFLEX 12X3 4400 830/35/40 96635504 Reccessed Modular Fittings (300 x 1200mm) | Thorn 96241871 AquaForce II, IP65 LED 6400 HF L840 (1100 x 92 x 90 m | WT472C LED42S/840 PSU WB L1300 Expolsion proof fittings | Thorn 96629743 OMEGA LED 3300-840 HF Q597 Times Recessed Modular fittngs (600 x 600mm) | Thorn 96631450 BETA 2 LED3800-840 HF E3 Q600 Recessed Modular fittngs with Emergency- Q597 (600 x 600mm) | EVO PANEL 1200X600 5000LM 50W 4000K NON-Reccessed Modular Fittings | EMMA VARIOFLEX 1500 6000 830/35/40 96635575 LED Batten fittings
| LIGHTING FITTING POWER (W) | 16 | 30 | 40 | 40 | 42 | 30.5 | 29 | 29 | 40 | 45
E | Unit Cost ( NGN) | 36560 | 44176 | 44176 | 109232 | 69630 | 201960 | 69590 | 159835 | 139232 | 52880
F | Estimated Changeout frequency per year | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| Life cycle Cost ( NGN) per LED ( 20yrs ref; fluorescent fitting ) | 146240 | 176704 | 176704 | 436928 | 278520 | 807840 | 278360 | 639340 | 556928 | 211520
G | Energy Consumption | 2464 | 1380 | 113560 | 6960 | 4704 | 4605.5 | 213353 | 6061 | 5360 | 7065
| PHILIPS LED EQUIVALENT | BN015C SET 1xTLED L600 8W 765 Batten fitting | BN011C 1xTLED L1200 G2 GMGM Batten fitting | BN011C 2xTLED L1200 G2 GM | RC048B LED38S/865 PSU W30L120 GM (300 x 1200mm) | WT069C SE 2XTLED Bare L1200 GM weatherproof Batten fitting | WT472C LED42S/840 PSU WB L1300 Expolsion proof | RC048B LED38S/840 PSU W60L60 GM (600 x 600mm) Reccessed fitting | RC048B LED38S/840 PSU W60L60 GM+ TrustSight Emergency Kits (600 x 600mm) Reccessed fitting | RC048B LED50S/840 PSU W60L120 GM (600 x 1200mm) Reccessed fitting | WT068C CW LED56 L1500 PSU Batten fitting
| LIGHTING FITTING POWER (W) | 8 | 16 | 32 | 42 | 32 | 30.5 | 42 | 42 | 50 | 51
E | Unit Cost ( NGN) | 10387 | 14274 | 16829.8 | 35690.2 | 25534.6 | 201960 | 25534.6 | 91089.7 | 71960.2 | 40622.4
F | Estimated Changeout frequency per year | 3 | 3 | 3 | 3 | 3 | 5 | 3 | 3 | 3 | 3
| Life cycle Cost ( NGN) per LED ( 20yrs ref; fluorescent fitting ) | 69246.6667 | 95160 | 112198.6667 | 237934.6667 | 170230.6667 | 807840 | 170230.6667 | 607264.6667 | 479734.6667 | 270816
G | Energy Consumption | 1232 | 736 | 90848 | 7308 | 3584 | 4605.5 | 308994 | 8778 | 6700 | 8007

## COST ANALYSIS
LIGHTING FITTINGS COST ANALYSIS
FLUORESCENT LIGHTING FITTINGS | 1 X 18W Batten Fluorescent Fittings (1 X 600mm) | 1 X 36W Batten Fluorescent Fittings (1 X 1200mm) | 2 X 36W Batten Fluorescent Fittings (2 X 1200mm) | 2 X 36W Ceiling Reccessed Modular Fluorescent Fittings (2 X 1200mm) | 2 X 36W WEATHERPROOF Fluorescent Fittings (2 X 1200mm) | 2 X 36W Ex Flourescent Fittings (2 X 1200mm) | 4 X 18W Ceiling Reccessed Modular Fluorescent Fittings (600 X 600mm) | 4 X 18W Ceiling Reccessed Modular Fluorescent Fittings Maintained emergency (600 X 600mm) | 4 X 36W Ceiling Reccessed Modular Fluorescent Fittings (4 X 1200mm) | 2 X 58W Batten Fluorescent Fittings (2 X 1520mm) | SPOTLIGHT
LIGHTING FITTING POWER (W) | 18 | 36 | 72 | 72 | 72 | 72 | 72 | 72 | 144 | 116
Initial cost of fiitings (Tube + choke ) (Mkt rates ) | 8000 | 10000 | 12000 | 30000 | 30000 | 270756 | 35000 | 45000 | 40000 | 35000 | xxx
Cost of Tube to maintain fitting (GPMC rates ) | 625 | 875 | 1750 | 1750 | 1750 | 1750 | 2500 | 2500 | 3500 | 2100
Cost of ballast to maintain fitting (GPMC rates ) | 2000 | 4000 | 6625 | 6625 | 6625 | 6625 | 6625 | 6625 | 13250 | 8500
Light fitting life cycle (Years) | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
Replacement period for Tubes and Ballasst ( Yrs ) | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Frequency of replacement of Tubes and Ballasts per fitting life cycle | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Maintain cost for a fitting. | 26250 | 48750 | 83750 | 83750 | 83750 | 83750 | 91250 | 91250 | 167500 | 106000
Life Cycle cost for one fitting. | 34250 | 58750 | 95750 | 113750 | 113750 | 354506 | 126250 | 136250 | 207500 | 141000
| ↓ | ↓ | ↓ | ↓ | ↓ | ↓ | ↓ | ↓ | ↓ | ↓ | ↓
THORN LED EQUIVALENT | Thorn 96635575 EMMA VARIOFLEX 600 2000 LED 4000K, Batten Fittings | Thorn EMMA VARIOFLEX 1200 4000 830/35/40 96635574 LED BattenFittings | Thorn EMMA VARIOFLEX 1200 4000 830/35/40 96635574 LED BattenFittings | Thorn ANNA VARIOFLEX 12X3 4400 830/35/40 96635504 Reccessed Modular Fittings (4 X 1200mm) | Thorn 96241871 AquaForce II, IP65 LED 6400 HF L840 (1100 x 92 x 90 m | WT472C LED42S/840 PSU WB L1300 Expolsion proof | Thorn 96629743 OMEGA LED 3300-840 HF Q597 Times Recessed Modular fittngs (600 x 600mm) | Thorn 96631450 BETA 2 LED3800-840 HF E3 Q600 Recessed Modular fittngs with Emergency- Q597 (600 x 600mm) | EVO PANEL 1200X600 5000LM 50W 4000K NON-Reccessed Modular Fittings | EMMA VARIOFLEX 1500 6000 830/35/40 96635575 LED Batten fittings
LIGHTING FITTING POWER (W) | 16 | 30 | 40 | 40 | 42 | 30.5 | 29 | 29 | 40 | 45
Initial cost of fiitings | 36560 | 44176 | 44176 | 109232 | 69630 | 201960 | 69590 | 159835 | 139232 | 52880
Light fitting life cycle (Years) | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Unit cost ( NGN) of one fitting for liftime ( 5yrs) | 36560 | 44176 | 44176 | 109232 | 69630 | 201960 | 69590 | 159835 | 139232 | 52880
Unit Cost ( NGN) for LED to operate for 20yrs as fluorescent fitting liftime | 146240 | 176704 | 176704 | 436928 | 278520 | 807840 | 278360 | 639340 | 556928 | 211520
| ↓ | ↓ | ↓ | ↓ | ↓ | ↓ | ↓ | ↓ | ↓ | ↓ | ↓
PHILIPS LED EQUIVALENT | BN015C SET 1xTLED L600 8W 765 Batten fitting | BN011C 1xTLED L1200 G2 GMGM Batten fitting | BN011C 2xTLED L1200 G2 GM | RC048B LED38S/865 PSU W30L120 GM | WT069C SE 2XTLED Bare L1200 GM weatherproof Batten fitting | WT472C LED42S/840 PSU WB L1300 Expolsion proof | RC048B LED38S/840 PSU W60L60 GM (600 x 600mm) Reccessed fitting | RC048B LED38S/840 PSU W60L60 GM+ TrustSight Emergency Kits (600 x 600mm) Reccessed fitting | RC048B LED50S/840 PSU W60L120 GM (600 x 1200mm) Reccessed fitting | WT068C CW LED56 L1500 PSU Batten fitting
LIGHTING FITTING POWER (W) | 8 | 16 | 32 | 42 | 32 | 30.5 | 42 | 42 | 50 | 51
Initial cost of fiitings | 10387 | 14274 | 16829.8 | 35690.2 | 25534.6 | 201960 | 25534.6 | 91089.7 | 71960.2 | 40622.4
Light fitting life cycle (Years) | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Unit cost ( NGN) of one fitting for liftime ( 3yrs) | 10387 | 14274 | 16829.8 | 35690.2 | 25534.6 | 201960 | 25534.6 | 91089.7 | 71960.2 | 40622.4
Unit Cost ( NGN) for LED to operate for 20yrs as fluorescent fitting liftime | 69246.6667 | 95160 | 112198.6667 | 237934.6667 | 170230.6667 | 1346400 | 170230.6667 | 607264.6667 | 479734.6667 | 270816

## COMPARISON TABLE
COMPARISON TABLE
S/N | FITTING SIZES/TYPES | FLORESCENT FITTINGS |  | THORN LED FITTINGS |  | PHILIPS LED FITTINGS
|  | POWER CONSUMPTION (W) PER FTIINGS | LIFE CYCLE COST (NGN) PER FITTING | POWER CONSUMPTION (W) PER FTIINGS | LLIFE CYCLE COST (NGN) PER FITTING | POWER CONSUMPTION (W) PER FTIINGS | LIFE CYCLE COST (NGN) PER FITTING
1 | 1 X 18W - Batten | 18 | 34250 | 16 | 146240 | 8 | 69246.6667
2 | 1 X 36W - Batten | 36 | 58750 | 30 | 176704 | 16 | 95160
3 | 2 X 36W - Batten | 72 | 95750 | 40 | 176704 | 32 | 112198.6667
4 | 2 X 36W - Ceiling Recessed | 72 | 113750 | 40 | 436928 | 42 | 237934.6667
5 | 2 X 36W - Weatherproof | 72 | 113750 | 42 | 278520 | 32 | 170230.6667
6 | 2 X 36W - Explosion proof | 72 | 354506 | 30.5 | 807840 | 30.5 | 807840
7 | 4 X 18W - Ceiling Recessed | 72 | 126250 | 29 | 278360 | 42 | 170230.6667
8 | 4 X 18W - Ceiling Recessed c/w emergency | 72 | 136250 | 29 | 639340 | 42 | 607264.6667
9 | 4 X 36W - Ceiling Recessed | 144 | 207500 | 40 | 556928 | 50 | 479734.6667
10 | 2 X 58W - Batten | 116 | 141000 | 45 | 211520 | 51 | 270816

## LIGHT FITTINGS
LIGHTING FITTINGS SPECIFCATIONS
EXISTING FLUORESCENT LIGHTING FITTINGS | 1 X 18W Batten Fluorescent Fittings (1 X 600mm) | 1 X 36W Batten Fluorescent Fittings (1 X 1200mm) | 2 X 36W Batten Fluorescent Fittings (2 X 1200mm) | 2 X 36W Ceiling Reccessed Modular Fluorescent Fittings (2 X 1200mm) | 2 X 36W WEATHERPROOF Fluorescent Fittings (2 X 1200mm) | 2 X 36W Ex Flourescent Fittings (2 X 1200mm) | 4 X 18W Ceiling Reccessed Modular Fluorescent Fittings (600 X 600mm) | 4 X 18W Ceiling Reccessed Modular Fluorescent Fittings Maintained emergency (600 X 600mm) | 4 X 36W Ceiling Reccessed Modular Fluorescent Fittings (4 X 1200mm) | 2 X 58W Batten Fluorescent Fittings (2 X 1520mm) | SPOTLIGHT | REMARK
LOCATION | QTY | QTY | QTY | QTY | QTY | QTY | QTY | QTY | QTY | QTY | QTY | QTY
A1 - BLOCK
A1 - ANNEX
A1- ANX - (Rm 01 ) |  |  | 2
A1- ANX - (Rm 02 ) |  |  | 2
A1- ANX - (Rm 03 ) |  |  | 2
A1- ANX - (Rm 04 ) |  |  | 2
A1- ANX - (Rm 05 ) |  |  | 2
A1- ANX - (Rm 06 ) |  |  | 2
A1- ANX - (Rm 10 ) |  |  | 2
A1- ANX - (Corridor ) |  |  | 4
A1- ANX - (Toilets ) | 4
Total | 4 |  | 18
A2 - BLOCK -IA CLUB
I.A CLUB (Restaurant ) |  |  | 23 |  |  |  | 70
I.A CLUB (Bar & Salon ) |  |  | 4 |  |  |  | 16
I.A CLUB (Kitchen ) |  |  | 14
I.A CLUB (GYM ) | [6 empty] | 12
I.A CLUB (GYM Toilet ) |  |  | 1 |  |  |  | 12
I.A CLUB (General Toilet ) | [6 empty] | 6
I.A CLUB AREA (Bole Joint ) |  |  | 6
I.A CLUB AREA (Abudy Juice ) |  |  | 4
I.A CLUB AREA (Laundry Caravan ) |  |  | 6
I.A CLUB AREA (Obuji Farm Caravan ) |  |  | 4
I.A CLUB AREA (MTN & ETEL Caravan ) |  |  | 2
I.A CLUB AREA (Squash court ) |  |  | 22 | [8 empty] | Work in progress
I.A CLUB AREA (Swimming Pool Gate ) |  | 1 | [9 empty] | Work in progress
I.A CLUB AREA (Swimming Pool Office ) |  |  | 4
I.A CLUB AREA (Swimming Certificate Office ) |  |  | 4
I.A CLUB AREA (Swimming Gents ) |  |  | 14
I.A CLUB AREA (Swimming Ladies ) |  |  | 8
I.A CLUB AREA (Swimming Equipment Store ) |  |  | 2
I.A CLUB AREA (Swimming Plant Store ) |  | 15
I.A CLUB AREA (Swimming Pool DSTV Caravan) |  |  | 2 | [8 empty] | Work in progress
Total |  |  | 120 |  |  |  | 116 | 0
A3-BLOCK
A3- (RM-1 ) |  |  | 3
A3- (RM-2 ) |  |  | 2
A3- (RM03-04GM office ) | [6 empty] | 9
A3- (RM-5 Store ) |  |  | 2
A3- (RM-9 ) |  |  | 2
A3- (RM-10 ) |  |  | 4
A3- (RM-11 ) |  |  | 3
A3- (RM-12 ) |  |  | 4
A3- (RM-13 ) |  |  | 4
A3- (RM-14 ) |  |  | 4
A3- (RM-15 ) |  |  | 2
A3- (RM-16 ) |  |  | 3
A3- (RM-17 ) |  |  | 3
A3- (RM-18 ) |  |  | 4
A3- (RM-19 ) |  |  | 3
A3- (RM-20 ) |  |  | 2 |  |  |  | 5
A3- (RM-21 ) | [6 empty] | 22
A3- (Pantry S/W Room ) | [6 empty] | 2
A3- (Corridor ) |  |  | 13
A3- (UBA ) |  |  | 1 |  |  |  | 14
A3- (Toilets Building ) | 5 | [5 empty] | 15
Total | 5 |  | 59 |  |  |  | 67
A3- LANDS
A3-L- (Receiption & Corridor ) | [6 empty] | 12
A3-L- (Rm -01 - 02 ) | [6 empty] | 4
A3-L- (Rm -03 - 04 ) | [6 empty] | 3
A3-L- (Rm -05 - 06 ) | [6 empty] | 6
A3-L- (Rm -07 ) | [6 empty] | 2
A3-L- (Rm -08 - 11 ) | [6 empty] | 8
A3- L- (Pantry & Toiltes ) | [6 empty] | 1
Total | [6 empty] | 36
A4-BLOCK
A4 -GFLR ( Main Resturant ) | [9 empty] | 117
A4 - GFLR ( Severy ) |  |  | 17
A4 -GFLR (Entrance, IT, S/W, STORE ROOMS ) |  | 10 | 3 |  |  |  | 11
A4 -GFLR ( Core store ) |  |  | 65 |  |  |  | 25
A4 -FFLR ( ORP Office ) | [6 empty] | 28
A4 -FFLR ( Provast Store) | [6 empty] | 6
A4 -FFLR ( NGRE Store ) |  | 4 | 18
Total |  | 14 | 103 |  |  |  | 70 |  |  | 117
A5-BLOCK
A5- (Corridor ) | [6 empty] | 4
A5- (Conference Hall ) | [6 empty] | 15
A5- (Open Office ) | [6 empty] | 36
A5- ( Manager office ) | [6 empty] | 12
A5- (Pantry ) | [6 empty] | 1
Total | [6 empty] | 68 |  |  | 0
A6-BLOCK
A6- (Receiption ) |  |  | 4
A6 - (Corridor ) | [6 empty] | 13
A6 - ( Rm 01 - 12 ) | [6 empty] | 48
A6 - ( Rm 13 ) | [6 empty] | 3
A6 - ( Rm 14 - S/W ) |  |  | 2
A6 - ( Rm 15 ) | [6 empty] | 4
A6 - ( Rm 16 - 18 ) | [6 empty] | 12
A6 - ( Rm 19 - 24 ) | [6 empty] | 28
A6 - ( Rm 24 -IT ) | [6 empty] | 2
Total | [6 empty] | 110
A7-BLOCK | [11 empty] | Work in progress
A7 - ( Ground Flr Entrance ) | [6 empty] | 4
A7 - ( Ground Flr Receiption ) | [6 empty] | 12
A7 - ( Ground Flr Walkway ) | [6 empty] | 17
A7 - ( Ground Flr- 001 ) | [6 empty] | 4
A7 - ( Ground Flr- 002 ) | [6 empty] | 4
A7 - ( Ground Flr- 003 ) | [6 empty] | 1
A7 - ( Ground Flr- 004 - 007 ) | [6 empty] | 6
A7 - ( Ground Flr- 014 ) | [5 empty] | 10
A7 - ( Ground Flr- 015 ) | [5 empty] | 12
A7 - ( Ground Flr- 016 ) | [5 empty] | 18
A7 - ( Ground Flr- 017 ) | [5 empty] | 13
A7 - ( Ground Flr- 018 ) | [5 empty] | 3
A7 - ( Ground Flr- Store A ) | [5 empty] | 9
A7 - ( Ground Flr- Store B ) | [5 empty] | 6
A7 - ( Ground Flr- Routine Lab ) | [5 empty] | 9
A7 - ( Ground Flr- Extension Blocks ) | [5 empty] | 10
A7 - ( First Flr Passage ) | [6 empty] | 17
A7 - ( Sever Room ) | [6 empty] | 8
A7 - (A7 - 103 ) | [6 empty] | 18
A7 - (A7 - 110 - 113 ) | [6 empty] | 28
A7 - (A7 - 115 ) | [6 empty] | 22
A7 - (A7 - 117 ) | [6 empty] | 16
A7 - (A7 - 120 - 122) | [6 empty] | 28
A7 - (A7 - 123 - 124) | [6 empty] | 16
A7 - (A7 - First Flr. Pantry) | [6 empty] | 1
A7 - (A7 - Seurity) |  |  |  |  | 11
A7 - (A7 - Meetin Rm) | [6 empty] | 4
A7 - (A7 - First Floor Toilets) | [6 empty] | 8
A7 - ( Second Flr Passage ) | [6 empty] | 17
A7 - (A7 - 204 - 208) | [6 empty] | 24
A7 - (A7 - 209 ) | [6 empty] | 9
A7 - (A7 - 211 - 213) | [6 empty] | 24
A7 - (A7 - 215 ) | [6 empty] | 17
A7 - (A7 - 221 - 223) | [6 empty] | 40
A7 - (A7 - Second Flr. Pantry) | [6 empty] | 1
A7 - (A7 - Second Floor Toilets) | [6 empty] | 9
A7 - (A7 - Second Floor Entry Staircase) |  |  |  |  | 4 |  | 8
A7 - (A7 - Second Floor Exit Staircase) |  |  |  |  | 6
Total |  |  |  |  | 21 | 90 | 363
A8-BLOCK - GROUND FLOOR
A8 GFLR- ( Entry & Pantry ) | [6 empty] | 2
A8 GFLR- ( Toilets ) | [6 empty] | 4
A8 GFLR- ( Office Rm01 ) | [6 empty] | 2
A8 GFLR- ( Office Rm03 ) | [6 empty] | 3
A8 GFLR- ( Elect. Rm ) | [6 empty] | 3
A8 GFLR- ( Office Rm04 ) | [6 empty] | 3
A8 GFLR- ( Office Rm05 ) | [6 empty] | 3
A8 GFLR- ( Office Rm06 ) | [6 empty] | 6
A8 GFLR- ( Office Rm07 - 09) | [6 empty] | 9
A8 GFLR- ( Office Rm10 ) | [6 empty] | 6
A8 GFLR- ( Exit Passage ) | [6 empty] | 2
A8 GFLR- ( Computer Rm perimeter Walkway ) | [6 empty] | 24
A8 GFLR- ( Computer Rm ) | [6 empty] | 25
Total | [6 empty] | 92
A8-BLOCK - FIRST FLOOR
Total
A9-BLOCK - GROUND FLOOR
A9 GFLR- ( Office Rm01 - 02 ) | [6 empty] | 6
A9 GFLR- ( Passage ) | [6 empty] | 7
A9 GFLR- ( IT Rm ) | [6 empty] | 6
A9 GFLR- ( Elect Rm ) | [6 empty] | 4
A9 GFLR- ( Transcription Rm ) | [6 empty] | 4
A9 GFLR- ( Toilets ) | [6 empty] | 3
A9 GFLR- ( Archive ) | [6 empty] | 115
Total | [6 empty] | 145
A9-BLOCK - FIRST FLOOR
Total
ACCESS CONTROL-BLOCK | [11 empty] | Work in progress
ACC CONT- ( Visitor Center ) | [6 empty] | 8
ACC CONT- ( External ) |  |  | 6
ACC CONT- ( Access Office ) | [6 empty] | 21
ACC CONT- ( Mailing Rm ) | [6 empty] | 12
Total |  |  | 6 |  |  |  | 41
B1-BLOCK | [11 empty] | LED Fittings
B1-BLOCK - FRST BANK | [6 empty] | 18
Total | [6 empty] | 18
B1-BLOCK - LIBRARY
B1 GFLR- ( Library ) |  |  |  | 42
B1 GFLR- ( Gents ) |  |  |  | 2
B1 GFLR- ( Ladies ) |  |  |  | 2
Total |  |  |  | 46
B2-BLOCK | [11 empty] | LED Fittings
B3-BLOCK
B3 GFLR- ( Entry Flr ) | [6 empty] | 34
B3 GFLR-W ( 043 ) | [6 empty] | 24
B3- GFLR W- ( Passage ) | [6 empty] | 18
B3 GFLR-W ( 046 - 059 ) | [6 empty] | 84
B3 GFLR-W ( 063 - 076 ) | [6 empty] | 84
B3- GFLR W- ( Pantry & Toilet Area ) | [6 empty] | 10
B3 GFLR-E ( 06 ) |  |  | 1
B3- GFLR E- ( Passage & ) | [6 empty] | 19
B3 GFLR-E ( 08 - 020 ) | [6 empty] | 76
B3- GFLR E- ( Toilet Area ) |  |  | 1 |  |  |  | 10
B3 GFLR-E ( 025- 038 ) | [6 empty] | 78
B3-GFLR IT Customer Center | [6 empty] | 12
B3 - GFLR-B3 - B4 W/W | [6 empty] | 22
B3-Staircase |  |  | 6
B3 FFLR- ( Entry Flr ) | [6 empty] | 28
B3 FFLR-W ( 142-144 ) | [6 empty] | 12
B3- FFLR W- ( Passage ) | [6 empty] | 16
B3 FFLR-W ( 146 - 058 ) | [6 empty] | 84
B3 FFLR-W ( 163 - 175 ) | [6 empty] | 84
B3- FFLR W- ( Pantry & Toilet Area ) | [6 empty] | 10
B3 FFLR-W ( 176 ) | [6 empty] | 6
B3 FFLR-E ( 140-141 ) | [6 empty] | 12
B3- FFLR E- ( Passage ) | [6 empty] | 19
B3 FFLR-E ( 1 05 ) |  |  | 1
B3 FFLR-E ( 1 06) | [6 empty] | 6
B3 FFLR-E ( 108 - 120 ) | [6 empty] | 72
B3 FFLR-E ( 126 -- 138 ) | [6 empty] | 50
B3- FFLR E- ( Toilet Area ) | [6 empty] | 11
B3 - FFLR-B2 - B3 W/W | [6 empty] | 33
B3 - FFLR-B3 - B4 W/W | [6 empty] | 46
B3 SFLR- ( Entry Flr ) | [6 empty] | 25
B3 SFLR-W ( 242 - 244 ) | [6 empty] | 13
B3- SFLR W- ( Passage ) | [6 empty] | 16
B3 FFLR-W ( 246 - 258 ) | [6 empty] | 84
B3 FFLR-W ( 263 - 264 ) | [6 empty] | 18
B3 FFLR-W ( 265 - 267 ) | [6 empty] | 18
B3 FFLR-W ( 269 - 276 ) | [6 empty] | 36
B3- SFLR W- ( Pantry & Toilet Area ) | [6 empty] | 10
B3- SFLR-E- (Main Saver Hall ) | [8 empty] | 78
B3- SFLR-E- (219 ) | [8 empty] | 8
B3- SFLR- E- (Exit & Toilet Area ) | [6 empty] | 4 |  | 4
B3- SFLR- E- (234 ) | [8 empty] | 4
B3- SFLR-E- (Passage ) | [8 empty] | 4
B3- SFLR- E- (232 ) | [8 empty] | 8
B3- SFLR- E- (205 ) | [8 empty] | 2
B3- SFLR-E- (208 ) | [8 empty] | 26
B3- SFLR-E- (237- 240 ) | [6 empty] | 30
B3 - SFLR --B2 - B3 W/W | [6 empty] | 33
B3 - SFLR-B3 - B4 W/W | [6 empty] | 46
Total |  |  | 9 |  |  |  | 1293 |  | 134 | 0
B4-BLOCK | [6 empty] | 1293
B4 GFLR- ( Entry Foyer) | [10 empty] | 55
B4 GFLR- ( Entry Flr/Receiption ) |  |  | 1 |  |  |  | 22
B4 GFLR- C- ( Toilets ) | [6 empty] | 8
B4 GFLR- ( Staircase ) |  |  | 6
B4- GFLR W- ( Passage ) | [6 empty] | 21
B4 GFLR-W ( MT Rms GF 2 ) | [6 empty] | 12
B4 GFLR-W ( MT Rms GF 3 & 4 ) | [6 empty] | 18
B4 GFLR-W ( MT Rms GF 5 ) | [6 empty] | 9
B4 GFLR- W-( Toilets Area ) | [6 empty] | 7
B4 GFLR-W ( 045 - 059 ) | [6 empty] | 60
B4 GFLR-W ( 077 - 078 ) | [6 empty] | 36
B4 GFLR-W ( 082 - 084 ) | [6 empty] | 36
B4 GFLR-W ( Pantry- 079 ) | [6 empty] | 3
B4- GFLR E- ( Passage ) | [6 empty] | 18
B4 GFLR-E ( MT Rms GF 1 ) | [6 empty] | 12
B4 GFLR-E ( MT Rms GF 5 ) | [6 empty] | 9
B4 GFLR- E-( Toilets Area ) | [6 empty] | 8
B4 GFLR-E ( Pantry- 020 ) | [6 empty] | 4
B4 GFLR-E ( 023 ) | [6 empty] | 4
B4 GFLR-E ( 024 ) | [6 empty] | 4
B4 GFLR-E ( 009 - 017 ) | [6 empty] | 72
B4 GFLR-E ( 026 - 029 ) | [6 empty] | 84
B4 GFLR-E ( 030 - 034 ) | [6 empty] | 36
B4 GFLR E- ( Exit Staircase ) |  |  | 2
B4- FFLR C- ( Entry Flr ) | [6 empty] | 19
B4- FFLR C- ( VRC - 137 )
B4- FFLR C- ( IT Training Center -138-144 )
B4- FFLR W- ( PMC -Walkway ) |  |  |  | 10
B4- FFLR W- ( PMC Energy Hub ) |  |  |  | 4
B4- FFLR W- ( PMC Huddle Rm ) |  |  |  | 2
B4- FFLR W- ( PMC Store Rm ) |  |  |  | 1
B4- FFLR W- ( PMC Quite Rm ) |  |  |  | 1
B4- FFLR W- ( PMC First Support ) |  |  |  | 6
B4- FFLR W- ( PMC Collaborative Meeting Rm 1 ) |  |  | 6
B4- FFLR W- ( PMC Collaborative Meeting Rm 2 ) |  |  | 4
B4- FFLR W- ( PMC Open Office 1 ) |  |  |  | 35
B4- FFLR W- ( PMC Open Office 2) |  |  |  | 15
B4- FFLR W- ( PMC Open Office 3) |  |  |  | 13
B4- FFLR W- ( PMC Office Rm 1 ) |  |  |  | 6
B4- FFLR W- ( PMC IT Rm ) |  |  |  | 3
B4- FFLR W- ( PMC Second Walkway ) |  |  |  | 4
B4- FFLR W- ( PMC ER Center Seat Out ) |  |  | 6
B4- FFLR W- ( PMC Equipment Rm ) |  |  |  | 3
B4- FFLR W- ( PMC ER Center Main Area ) |  |  | 8
B4- FFLR W- ( PMC CRC Commander ) |  |  |  | 2
B4- FFLR W- ( PMC URFM/tech.Manager ) |  |  |  | 3
B4- FFLR W- ( PMC DataComs Rm ) |  |  |  | 4
B4- FFLR E- ( Passage ) | [6 empty] | 18
B4 FFLR-E ( 112 - 116 ) | [6 empty] | 30
B4 fFLR-E ( Pantry - 120 ) | [6 empty] | 3
B4 FFLR-E ( 127 - 130 ) | [6 empty] | 30
B4 FFLR-E ( 131 - 133 ) | [6 empty] | 18
B4 FFLR-E ( IT Rm 124 ) | [6 empty] | 3
B4 FFLR-E ( 135 - 136 ) | [6 empty] | 18
B4 FFLR E- ( Exit Staircase ) |  |  | 2
B4 SFLR- C ( Entry Flr ) | [6 empty] | 20
B4 SFLR- C- ( Toilets ) | [6 empty] | 6
B4- SFLR - W- ( Passage ) | [6 empty] | 24
B4 SFLR-W ( 271 - 273 ) | [6 empty] | 30
B4 SFLR-W ( 264- 268 ) | [6 empty] | 30
B4 SFLR- W-(Medical Toilets Area ) | [6 empty] | 6
B4 SFLR- W-( MT Rm - 240 ) | [6 empty] | 8
B4 SFLR- W-( MT Rm - 244 ) | [6 empty] | 8
B4 SFLR- W-( MT Rm - 237 ) | [6 empty] | 4
B4- SFLR - E - ( Passage ) | [6 empty] | 18
B4 SFLR- E-( MT Rm - 207 ) | [6 empty] | 4
B4 SFLR- E-( Energy Hub ) | [6 empty] | 4
B4 SFLR- E-( Office - 234 - 235 ) | [6 empty] | 8
B4 SFLR- E-( Office - 208 - 210 ) | [6 empty] | 12
B4 SFLR- E-( Office - 211 ) | [6 empty] | 4
B4 SFLR- E-( Office - 212 ) | [6 empty] | 4
B4 SFLR- E-( Office - 213 ) | [6 empty] | 4
B4 SFLR- E-( Office - 214 ) | [6 empty] | 4
B4 SFLR- E-( Office - 215 ) | [6 empty] | 4
B4 SFLR- E-( Office - 216 ) | [6 empty] | 4
B4 SFLR- E-( Office - 217 - 218 ) | [6 empty] | 10
B4 SFLR- E-( Office - 220 ) | [6 empty] | 4
B4 SFLR- E-( Office - 222 - 223 ) | [6 empty] | 12
B4 SFLR- E-( Office - 225) | [6 empty] | 4
B4 SFLR- E-( Office - 226 - 227 ) | [6 empty] | 12
B4 SFLR- E-( Office - 230 ) | [6 empty] | 4
B4 SFLR- E-( Office - 231 - 232 ) | [6 empty] | 16
B4 SFLR- E - ( Toilets Area ) | [6 empty] | 6
Total |  |  | 35 | 112 |  |  | 896
C- BUILDINGS
C3 - ( Office) | [6 empty] | 10
C3 - ( Toilets) | 6
C5 - ( Entrance Lobby) | [6 empty] | 3
C5 - ( S/W Rm) | [6 empty] | 2
C5 - ( Open MT Rm) | [6 empty] | 16
C5 - (Office Rm ) | [6 empty] | 10
C5 - (Toilet ) | [6 empty] | 4
C5 - (Pantry ) | [6 empty] | 2
C5 - (External) |  |  |  | 8
Total | 6 |  |  | 8 |  |  | 47
E- BUILDINGS ( WORKSHOPS )
E 1 - ( Heavy Duty W/Shop-1 ) |  |  | 45
E 1 - ( Heavy Duty W/Shop-2 ) |  |  | 25
E 1 - ( Heavy Duty W/Shop-3 ) |  |  | 5
E 1 - (Rigging Loft / Office ) |  |  | 6
E 1 - (Conference Building ) | [6 empty] | 29
E 1 - (Contractors Office ) | [6 empty] | 12
E 1 - (Staff Office ) |  |  | 9 |  |  |  | 10
E 1 - (Pantry ) | [6 empty] | 4
E 1 - (Toilet Building ) |  |  | 6 |  |  |  | 12
E 1 - (Batteries Charging Rm ) | [5 empty] | 9
E 2 - ( Light Flight W/Shop ) |  |  | 70
E 2 - ( W/Shop Office & Store) |  |  | 2 |  |  |  | 12
E 2 - ( W/Shop Toilets ) | [6 empty] | 14
E 2 - ( IT Rm ) |  |  | 2
E 3 - ( W/Shop Floor ) |  |  | 33 |  |  |  | 4
E 3 - ( Miscellaneous Bay ) |  |  | 18
E 3 - ( Relief Valve Room ) |  |  | 14
E 3 - ( Magneto Room ) |  |  | 8
E 3 - ( Room 05) |  |  | 6
E 3 - ( Room 06) |  |  | 6
E 3 - ( Room 07) |  |  | 6
E 3 - ( Room 08) | [6 empty] | 6
E 3 - ( Room 09) | [6 empty] | 8
E 3 - ( HSE Rm) |  |  | 16
E 3 - ( Electronic Bay) | [6 empty] | 12
E 3 - ( Calibration Rm) | [6 empty] | 12
E 3 - ( S/W Rm) |  |  | 3
E 5 - ( W/Shop Floor ) |  |  | 59
E 5 - ( Mechanical Parts Store ) |  |  | 22
E 5 - ( Mechining Section ) |  |  | 18
E 5 - ( Mechinine Sand Blasting Section ) |  |  | 26
E 5 - ( Access Control ) | [6 empty] | 4
E 5 - ( Odiama Office ) | [6 empty] | 6
E 5 - ( Office Rm01 ) | [6 empty] | 6
E 5 - ( Office Rm02 ) | [6 empty] | 12
E 5 - ( Office Rm03 ) | [6 empty] | 6
E 5 - ( Store ) | [6 empty] | 12
E 5 - ( Office Rm04 & Rm06 ) | [6 empty] | 18
E 5 - ( Office Passage ) | [6 empty] | 8
E 5 - ( Compressor Rm 09 ) | [6 empty] | 12
E 5 - ( Conference Rm ) | [6 empty] | 26
E 5 - (Pantry ) | [6 empty] | 2
E 5 - (Toilets ) | [6 empty] | 15
E 5 - ( Test Bay ) | [6 empty] | 21
E 5/E7 - ( W/Shop Link Floor ) | [6 empty] | 13
E 7 - ( W/Shop Floor ) |  |  | 25
E 7 - ( W/Shop Rewinding Section ) |  |  | 18
E 7 - ( IT Rm ) | [6 empty] | 6
E 7 - ( Office - Rm01 - Rm02 ) | [6 empty] | 12
E 7 - ( Office - Rm03 - Rm4) | [6 empty] | 18
E 7 - ( Store ) | [6 empty] | 9
E 7 - ( Passage ) | [6 empty] | 12
E 7 - ( Rewinding Store ) |  |  | 6
E 7 - ( Battery Chargin Rme ) |  |  | 7
E 6- Movable - ( W/Shop Floor ) |  |  | 30
E 6- Movable - ( W/Shop Offices ) |  |  | 23
E 6- Movable - ( W/Shop Store ) |  |  | 6
Total |  |  | 520 |  |  | 9 | 353
E4- BUILDINGS
E4- - ( Office Rm 1 ) |  |  | 0 |  |  | 0 | 3
E4- - ( Office Rm 2 ) | [6 empty] | 3
E4- - ( Office Rm 3 ) | [6 empty] | 4
E4- - ( Office Rm 4 ) | [6 empty] | 8
E4- - ( Office Rm 5 ) | [6 empty] | 5
E4- - ( Walkway) | [6 empty] | 2
E4- - ( Pantry) | 2
Total | 2 | [5 empty] | 25
FILLING STATION
FT - ( Pump Canopy ) | [5 empty] | 18
FT - ( Office ) | [5 empty] | 1
FT - ( Store ) | [5 empty] | 1
Total | [5 empty] | 20
FIRE GROUND
FG - ( Accomodation Carbins )
FG - ( Class Rm | [6 empty] | 8
FG - ( Class Rm Office) | [6 empty] | 2
FG - ( Galary) | [6 empty] | 1
FG - ( Equipment) | [6 empty] | 6
FG - ( toilets) | [6 empty] | 6
FG - ( Panry) | 2
Total | 2 | [5 empty] | 23
H- BLOCKS ( MEDICAL )
H - ( Maternity Rest Rm ) | [6 empty] | 9
H - ( Delivery Rm ) | [6 empty] | 9
H - ( Delivery Rm ) | [6 empty] | 12
H - ( Theater Receiption ) | [6 empty] | 4
H - ( Corridor ) | [6 empty] | 5
H - ( Delivery Rm) | [6 empty] | 2
H - ( T SS Rm) | [6 empty] | 1
H - ( Store Rm) | [6 empty] | 2
H - ( Scrub Rm) | [6 empty] | 1
H - ( Main Theater) | [6 empty] | 11
H - ( Minor Theater) | [6 empty] | 4
H - ( Sluice Rm) | [6 empty] | 2
H - ( M / F Changing Rm) | [6 empty] | 4
H - ( New Medical Corridor) | [6 empty] | 17
H - ( CSSD) | [6 empty] | 10
H - ( Nurse / Scrub ) | [6 empty] | 9
H - ( Assistant Med Director ) | [6 empty] | 6
H - ( Maternity Ward ) | [6 empty] | 6
H - ( RNZ Med Director Rm ) | [6 empty] | 4
H - ( Drivers Bay ) | [6 empty] | 2
H - ( Accident & Emergency Bay ) | [6 empty] | 5
H - (Accident & Emergency Ward ) | [6 empty] | 22
H - (Accident & Emergency Waiting ) | [6 empty] | 3
H - ( Accident & Emergency Ward Toilet ) | [6 empty] | 4
H - ( Male Ward ) | [6 empty] | 14
H - ( Male Ward Toilet ) | [6 empty] | 5
H - ( Special Ward ) | [6 empty] | 3
H - ( Female Ward ) | [6 empty] | 12
H - ( Female Ward Toilet ) | [6 empty] | 5
H - ( Special Toilet ) | [6 empty] | 2
H - ( ICU Hall, Store& Rms ) | [6 empty] | 12
H - ( HDU Rm1 -& 2 ) | [6 empty] | 4
H - ( Sluce Rm1 -& 2 ) | [6 empty] | 2
H - ( Holding Rm 1 & 2 ) | [6 empty] | 4
H - ( Doffing Rm ) | [6 empty] | 2
H - ( Call Waiting Rm ) | [6 empty] | 4
H - ( Call Rm 1 &2 ) | [6 empty] | 4
H - ( Children Ward ) | [6 empty] | 12
H - ( Children Ward Toilet ) | [6 empty] | 5
H - ( RNZ Med Director Louge Hall ) | [6 empty] | 6
H - ( RNZ Med Director Louge Hall Toilet & Store ) | [6 empty] | 1
H - ( X-Ray Receiption ) | [6 empty] | 10
H - ( X-Ray Rm ) | [6 empty] | 8
H - ( Pharmacy Store ) | [6 empty] | 10
H - ( Pharmacy Despensery ) | [6 empty] | 8
H - ( Pharmacy Mini Store ) | [6 empty] | 1
H - ( Pharmacy Corridor ) | [6 empty] | 10
H - ( Pharmacy Rest Rm ) | [6 empty] | 2
H - ( Pharmacy DespenseryCorridor ) | [6 empty] | 12
H - ( Pharmacy Toilets ) | [6 empty] | 3
H - ( GP - 1 ) | [6 empty] | 5
H - ( GP -2 ) | [6 empty] | 4
H - ( GP -3 ) | [6 empty] | 4
H - ( GP-4 ) | [6 empty] | 4
H - ( GP- Lead Nurse ) | [6 empty] | 8
H - ( Conference Rm ) | [6 empty] | 7
H - ( Audiometric Rm ) | [6 empty] | 6
H - ( Physiotherapy Rm ) | [6 empty] | 5
H - ( OPD ) | [6 empty] | 26
H - ( Medical Record ) | [6 empty] | 8
H - (Director of Nursing ) | [6 empty] | 4
H - (RNZ conference Rm ) | [6 empty] | 9
H - (RNZ Obstetric & Gynochology ) | [6 empty] | 5
H - (RNZ - M/F/D-Toilets ) | [6 empty] | 3
H - (RNZ - General Surgery ) | [6 empty] | 6
H - (RNZ - Corrridor ) | [6 empty] | 21
H - ( Senior Pharmacy Office ) | [6 empty] | 2
H - ( MOD Rm1 ) | [6 empty] | 2
H - ( MOD Rm2 ) | [6 empty] | 3
H - ( MOD Rm3 ) | [6 empty] | 2
H - ( MOD Rm4 ) | [6 empty] | 3
H - ( MOD Rm5 ) | [6 empty] | 2
H - ( MOD Rm6 ) | [6 empty] | 3
H - ( MOD Rm7 ) | [6 empty] | 4
H - ( MOD Rm8 ) | [6 empty] | 2
H - ( MOD Rm9 ) | [6 empty] | 4
H - ( MOD Rm10 ) | [6 empty] | 4
H - ( MOD Rm 11) | [6 empty] | 2
H - ( MOD Rm12 ) | [6 empty] | 4
H - ( MOD Rm13 ) | [6 empty] | 3
H - ( MOD Rm 14 ) | [6 empty] | 4
H - ( MOD Rm 15 ) | [6 empty] | 3
H - ( MOD Rm 16 ) | [6 empty] | 2
H - ( Pediatrics ) | [6 empty] | 6
H - ( Check in Station ) | [6 empty] | 8
H - ( INT Medicine)
H - ( Medical Ostetician Laboratory) | [6 empty] | 5
H - ( Lab Manager) | [6 empty] | 3
H - ( Laboratory Hall) | [6 empty] | 25
H - ( Laboratory Wash Chef) | [6 empty] | 6
H - ( Lab Store) | [6 empty] | 3
H - ( Lab M/F Toilets) | [6 empty] | 4
H - ( Immuniology) | [6 empty] | 4
H - ( Microbiology Rm) | [6 empty] | 6
Total | [6 empty] | 559
L - BUILDINGS
L1 - ( Entrance ) | [6 empty] | 4
L1 - ( Rm1) | [6 empty] | 8
L1 - ( Rm3) | [6 empty] | 2
L1 - ( Rm4) | [6 empty] | 8
L1 - ( Passage) | [6 empty] | 13
L1 - ( Open Office) | [6 empty] | 12
L1 - ( Rm7) | [6 empty] | 2
L1 - ( Rm9 & 10 ) | [6 empty] | 10
L1 - ( Rm11 - 12 ) | [6 empty] | 10
L1 - ( Dispatch Office) | [6 empty] | 15
L1 - ( External) |  |  | 1
L2 - ( Security) | [6 empty] | 2
L2 - ( Rm1 & 2) | [6 empty] | 8
L2 - ( Rm3) | [6 empty] | 2
L2 - ( Rm4) | [6 empty] | 4
L2 - ( Rm5) | [6 empty] | 2
L2 - ( External) |  |  | 6
L2 - ( S/W Rm ) | [6 empty] | 1
L3 - ( Receiption ) |  |  | 2
L3 - ( RM 01 - 03 ) |  |  | 10
L3 - ( RM 04 ) |  |  | 4
L3 - ( RM 05 ) |  |  | 4
L3 - ( RM 06 ) |  |  | 4
L3 - ( RM 07 ) | [6 empty] | 2
L3 - ( RM 08 ) |  |  | 6
L3 - ( RM 09 ) |  |  | 4
L3 - ( RM 10 -12 ) |  |  | 6
L3 - ( RM 13 -14 ) |  |  | 6
L3 - ( RM 15 -16) |  |  | 6
L3 - ( RM 17 -18) |  |  | 6
L3 - ( RM 19 ) |  |  | 6
L3 - ( Walkway ) |  |  | 21
L3 - ( Appliances Bay ) |  |  | 32
L3 - ( Pantry ) |  |  | 2
L3 - ( Cloak Rm ) | 6
L3 - ( Toilet ) | [6 empty] | 6
L5 -Upstair (Rm103 ) | [6 empty] | 8
L5 -Upstair (Rm112 ) | [6 empty] | 5
L5 -Upstair (Walkway ) | [6 empty] | 12
L5 -Upstair (Pantry ) | [6 empty] | 2
L5 -Upstair (Staircase ) | [6 empty] | 3
L5 -Upstair (External ) |  |  | 2
L5 -Upstair (Toilets ) | [6 empty] | 6
L5 -Downstair (Receiption ) | [6 empty] | 15
L5 -Downstair (Briefing Rm ) | [6 empty] | 3
L5 -Downstair (Checking Rm ) | [6 empty] | 3
L5 -Downstair (Arrival Rm ) | 12
L5 -Downstair (Toilets ) | [6 empty] | 6
L5 -Downstair (Passengers seat out ) | [6 empty] | 15
L6 - (Rm-01 ) |  |  | 2
L6 - (Rm-02 ) |  | 1
L6 - (Rm-03 ) |  |  | 2
L6 - (Rm-04 ) |  | 1
L7 - ( Old Hanger Roof ) |  |  |  |  | 76
L7 - ( Old Hanger Wall ) |  |  |  |  | 8
L7 - ( Old Hanger store )
L7 - ( Old Hanger Staircase ) |  |  |  |  | 2 |  | 2
L7 - ( Old Hanger Office passage |  |  |  |  | 2 |  | 7
L7 - ( Old Hanger IT Rm ) | [6 empty] | 1
L7 - ( Old Hanger Up Office Rm-1 ) | [6 empty] | 6
L7 - ( Old Hanger Up Office Rm-2 ) | [6 empty] | 4
L7 - ( Old Hanger Up Office Rm-3 ) | [6 empty] | 4
L7 - ( Old Hanger Up Office Rm-4 ) | [6 empty] | 4
L7 - ( Old Hanger Up Office Rm-5 ) | [6 empty] | 5
L7 - ( Old Hanger Up Office Rm-6 ) | [6 empty] | 2
L7 - ( Old Hanger Up Office Rm-7 ) | [6 empty] | 6
L7 - ( Old Hanger Down Toilet ) | [6 empty] | 3
L7 - ( Old Hanger Down S/W Rm ) | [6 empty] | 1
L7 - ( Old Hanger Down Rm 8 ) | [6 empty] | 6
L7 - ( Old Hanger Offices ) |  |  | 24
L7 - ( Old Hanger Gate House ) |  |  | 1
L7 - ( Old Hanger Store ) |  |  | 6
L7 - ( Old Hanger Bonding Store ) |  |  | 11
L7 - ( Old Hanger Robber Store ) |  |  | 9
L7 - ( Old Hanger Spare Store ) |  |  | 2
L9 - ( Driver Bench Hall ) | [6 empty] | 6
L9 - ( Driver Bench Toilet ) |  |  | 2
L9 - ( Driver Bench Security ) |  |  | 6
Total |  |  | 193 |  |  |  | 246
IA GATES
IA ( Gate -1 Entry Canopy) |  |  |  |  | 6
IA ( Gate -1 Exit Canopy) |  |  |  |  | 6
IA ( Gate -1 Police Blocks) |  |  | 32
IA ( Gate -2 Police Block)
IA ( Gate -3 Entry/Exit Canopy) |  |  |  |  | 6
IA ( Gate -3 Police Office ) | 21 |  | 6
IA ( Gate -3 JTF Block ) | [6 empty] | 9
IA ( Gate -4 Police Block) | 6 |  | 4
Total | 27 |  | 42 |  | 18 |  | 9
MEDICAL WASTE INCINERATOR BUILDING | [6 empty] | 4
MED-INCI - ( Gate house ) | 2
MED-INCI - ( Admin Office & Passage ) | 1 |  | 6
MED-INCI - ( Mechanical & Electrical W/Shop ) |  | 4 | 6
MED-INCI - ( Elect Rm ) |  |  | 1
MED-INCI - ( Waste Rm ) |  |  | 8
MED-INCI - ( Plant Rm ) |  |  |  |  | 15
Total | 3 |  | 21 |  | 15
M1/M2 BLOCK
M1/M2 - ( Entrance Foya) |  |  |  |  | 1
M1/M2 - ( Receiption) |  |  | 2
M1/M2 - ( Left Wing Walkway) |  |  | 9
M1/M2 - ( Main Wing Walkway) |  |  | 8
M1/M2 - ( Pantry) |  |  | 1
M1/M2 - ( IT Rm) | [6 empty] | 3
M1/M2 - ( Office Rm 01) |  |  | 1
M1/M2 - ( Office Rm 02) |  |  | 1
M1/M2 - ( Office Rm 03) | [6 empty] | 1
M1/M2 - ( Office Rm 04) |  |  | 2
M1/M2 - ( Toilets) | [6 empty] | 4
M1/M2 - ( Office Rm 05) | [6 empty] | 6
M1/M2 - ( Coop West Rm 06) | [6 empty] | 6
M1/M2 - ( Coop East Rm 07) |  |  | 4
M1/M2 - ( Coop East Rm 08 - 09) |  |  | 8
M1/M2 - ( Office Rm 10) |  |  | 7
M1/M2 - ( Office Rm 11) | [6 empty] | 6
M1/M2 - ( Office Rm 12) |  |  | 2
M1/M2 - ( Office Rm 13) |  |  | 5
M1/M2 - ( Office Rm 14) |  |  | 2
M1/M2 - ( Office Rm 15) | [6 empty] | 1
M1/M2 - ( Office Rm 16) |  |  | 3
M1/M2 - ( Office Rm 17) |  |  | 8
M1/M2 - ( Office Rm 18) |  |  | 8
M1/M2 - ( Office Rm 19) | [6 empty] | 6
M1/M2 - ( Office Rm 20) | [6 empty] | 9
M1/M2 - ( Office Rm 21) |  |  | 12
Total |  |  | 83 |  | 1 |  | 42
M3/M4 BLOCK
M3/M4 - ( Entance) |  |  | 2
M3/M4 - ( Receiption) | [6 empty] | 8
M3/M4 - ( IT Rm ) |  |  | 1 |  |  |  | 1
M3 - ( Corridor ) | [6 empty] | 20
M3 - ( Left Wing Rm 01 - 07 ) | [6 empty] | 28
M3 - ( Left Wing Rm `10 - 14 ) | [6 empty] | 20
M4 - ( Corridor ) | [6 empty] | 38
M4 - ( Toilets) | [6 empty] | 8
M4 - ( Right Wing Rm 01 - 16) | [6 empty] | 10
M4 - ( Right Wing Rm 18 - 24) | [6 empty] | 2
M4 - ( Right Wing Rm 18 - 24) | [6 empty] | 9
M4 - ( Right Wing Rm 26 - 29) | [6 empty] | 12
M4 - ( Right Wing Conference Rm 30 -32) | [6 empty] | 8
M4 - ( Left Wing Rm 33 - 35 ) | [6 empty] | 12
M4 - ( Left Wing Rm 36 - 37 ) | [6 empty] | 8
M4 - ( Pantry) | [6 empty] | 4
M4 - ( Toilets) | [6 empty] | 8
M4 - ( Left Wing Rm 44 - 49 ) | [6 empty] | 12
M4 - ( Left Wing Rm 44 - 49 ) | [6 empty] | 24
M4 - ( Toilets) | [6 empty] | 8
M4 - ( Left Wing Rm 52 - 60 ) | [6 empty] | 38
Total |  |  | 3 |  |  |  | 278
MS- BLOCKS
MS 01 - ( Office 01) |  |  | 15
MS 02- ( Office 02 - ) |  |  | 11
MS 02- ( Office 02- Extension ) |  |  | 9
MS 03 - ( Left Wing Manager Office ) | [6 empty] | 4
MS 03 - ( Left Wing Conference Rm ) | [6 empty] | 6
MS 03 - ( Right Wing Manager Office ) | [6 empty] | 4
MS 03 - ( Right Wing Conference Rm ) | [6 empty] | 6
MS 03 - ( External ) |  |  | 10
MS 03 - ( Left Wing Open Office ) | [6 empty] | 50
MS 03 - ( Passage ) | [6 empty] | 14
MS 03 - ( Right Wing Open Office ) | [6 empty] | 36
MS 03 - ( Pantry ) | [6 empty] | 1
MS 03 - ( Reprography ) | [6 empty] | 1
MS 03 - ( S/W & IT Rooms ) | [6 empty] | 4
MS 04 - ( Open Office ) | [6 empty] | 24
MS 04 - ( External ) |  |  | 3
MS 05 - ( Open Office ) | [6 empty] | 24
MS 05 - ( Pantry ) | [6 empty] | 2
MS 05 - ( IT & S/W Rooms ) | [6 empty] | 2
MS 05 - ( External ) |  |  | 3
MS 06 - ( Open Office ) | [6 empty] | 12
MS 06 - ( Passage ) | [6 empty] | 5
MS 06 - ( Pantry & Store ) | [6 empty] | 2
MS 06 - ( S/W Rooms ) | [6 empty] | 1
MS 06 - ( External ) |  |  | 3
MS 07 - ( Office 01) | [6 empty] | 12
Total |  |  | 54 |  |  |  | 210
P1-BLOCK | [6 empty] | 5
P1 - (Receiption) | [6 empty] | 2
P1 - (Passage and Pantry ) | [6 empty] | 3
P1 - (Office - 1) | [6 empty] | 4
P1 - (Office - 2 ) | [6 empty] | 4
P1 - (Office - 3) | [6 empty] | 4
P1 - (Conference Rm) | [6 empty] | 6
P1 - (Toilte Area) | [6 empty] | 11
P1 - (IT - Rm) | [6 empty] | 3
P1 - (Open Office -1) | [6 empty] | 25
P1 - (Open Office 2 ) | [6 empty] | 15
P1 - (Open Office -3 ) | [6 empty] | 15
P1 - (Open Office -4 ) | [6 empty] | 9
P1A - ( Indoor Office ) |  |  | 6
P1A - (Power Distribution Office ) | [6 empty] | 4
Total |  |  | 6 |  |  |  | 110
P2- - BLOCK
P2 - Water Facilities ( New Block-Office ) | [6 empty] | 9
P2 - Water Facilities ( New Block-Toilts ) | [6 empty] | 6
P2 - Water Facilities ( New Block- Clock Rm ) | [6 empty] | 3
P2 - Water Facilities ( New Block- W/shop ) | [6 empty] | 8
P2 - Water Facilities ( New Block- S/W Rm ) | [6 empty] | 1
P2 - Water Facilities ( New Block- Pantry ) | [6 empty] | 3
P2 - Water Facilities ( New Block- Varanadar ) |  |  | 4
P2 - Water Facilities ( Old Block- Offices ) | [6 empty] | 16
P2 - Water Facilities ( Old Block- Soil Test Lab ) |  |  | 24
Total |  |  | 28 |  |  |  | 46
P3 - BLOCK
P3 - GFLR. ( Receiption ) |  |  | 1 |  |  |  | 9
P3 - GFLR - Right Wing - ( Walkway ) | [6 empty] | 10
P3 - GFLR - Right Wing - ( Female Toilet ) | [6 empty] | 4
P3 - GFLR - Right Wing - ( Pantry ) | [6 empty] | 4
P3 - GFLR - Right Wing - ( S/w Rm P3-001 & P3-003 ) | [6 empty] | 2
P3 - GFLR - Right Wing - ( IT - Rm P3-019 ) | [6 empty] | 2
P3 - GFLR - Right Wing - ( MT - Rm P3-004 ) | [6 empty] | 4
P3 - GFLR - Right Wing - ( Ofice P3-006 - P3-008 ) | [6 empty] | 24
P3 - GFLR - Right Wing - ( Ofice P3-014 - P3-016 ) | [6 empty] | 20
P3 - GFLR - Right Wing - ( Ofice P3-017 - P3-018 ) | [6 empty] | 8
P3 - GFLR - Left Wing - ( Walkway ) | [6 empty] | 10
P3 - GFLR - Left Wing - ( Ofice P3-020 - P3-024 ) | [6 empty] | 26
P3 - GFLR - Left Wing - ( Ofice P3-025 - P3-026 ) | [6 empty] | 8
P3 - GFLR - Left Wing - ( Male Toilet ) | [6 empty] | 4
P3 - FFLR - - ( Entry Floor ) | [6 empty] | 2
P3 - FFLR - Left Wing - (S/W Rm ) | [6 empty] | 2
P3 - FFLR - Left Wing - (Walkway ) | [6 empty] | 10
P3 - FFLR - Left Wing - ( Ofice P3-103 - P3-107 ) | [6 empty] | 26
P3 - FFLR - Left Wing - ( Female Toilet ) | [6 empty] | 4
P3 - FFLR - Left Wing - ( MT - Rm P3-108 ) | [6 empty] | 4
P3 - FFLR - Left Wing - ( Ofice P3-110 - P3-116 ) | [6 empty] | 32
P3 - FFLR - Left Wing - (Pantry ) | [6 empty] | 4
P3 - FFLR - Right Wing - (Walkway ) | [6 empty] | 10
P3 - FFLR - Right Wing - (S/W Rm p3-133 ) | [6 empty] | 2
P3 - FFLR - Right Wing - ( Ofice P3-120 - P3-126 ) | [6 empty] | 40
P3 - FFLR - Right Wing - ( Male Toilet ) | [6 empty] | 4
P3 - FFLR - Right Wing - ( Ofice P3-127 ) | [6 empty] | 8
P3 - FFLR - Right Wing - ( Ofice P3-129 - P3-132 ) | [6 empty] | 20
P3 - SFLR - - ( Entry Floor ) | [6 empty] | 2
P3 - SFLR - Left Wing - (Walkway ) | [6 empty] | 10
P3 - SFLR - Left Wing - (S/W Rm - P3- 201 ) | [6 empty] | 2
P3 - SFLR - Left Wing - (Office - P3- 202 ) | [6 empty] | 4
P3 - SFLR - Left Wing - ( Ofice P3-203 - P3-207 ) | [6 empty] | 24
P3 - SFLR - Left Wing - (Male Toilet ) | [6 empty] | 4
P3 - SFLR - Left Wing - (MT.Rm P3-208 ) | [6 empty] | 4
P3 - SFLR - Left Wing - ( Ofice P3-212 - P3-214 ) | [6 empty] | 20
P3 - SFLR - Left Wing - (Office - P3- 232 ) | [6 empty] | 4
P3 - SFLR - Right Wing - (Walkway ) | [6 empty] | 10
P3 - SFLR - Right Wing - (S/W Rm - P3- 233 ) | [6 empty] | 2
P3 - SFLR - Right Wing - ( Ofice P3-218 - P3-221 ) | [6 empty] | 10
P3 - SFLR - Right Wing - ( Ofice P3-222- P3-224 ) | [6 empty] | 14
P3 - SFLR - Right Wing - ( Ofice P3-227- P3-229 ) | [6 empty] | 10
P3 - SFLR - Right Wing - (Office P3-230 ) | [6 empty] | 4
P3 - SFLR - Right Wing - (MT.Rm P3-231 ) | [6 empty] | 4
P3 - SFLR - Right Wing - (Office P3-232 ) | [6 empty] | 4
P3 - SFLR - Right Wing - (Female Toilet ) | [6 empty] | 4
P3 - SFLR - Right Wing - (Exit Stairway ) | [6 empty] | 2
Total |  |  | 1 |  |  |  | 441
P4 - BLOCK
P4 GFLR - ( Workshop ) |  |  | 34 |  |  |  | 0 |  |  | 40
P4 - GFLR. ( Receiption ) | [6 empty] | 4
P4 - GFLR. ( Drivers Office ) | [6 empty] | 2
P4 - GFLR. ( Male & Female Toilets ) | [6 empty] | 7
P4 - GFLR. ( Pantry ) | [6 empty] | 2
P4 - GFLR. ( S/W - Rm ) | [6 empty] | 1
P4 - GFLR. ( IT- Rm , Store ) |  |  | 3 |  |  |  | 2
P4 - GFLR - Right Wing - ( Walkway ) | [6 empty] | 6
P4 - GFLR - Right Wing - (Office P4- 04 ) | [6 empty] | 18
P4 - GFLR - Right Wing - (Office P4- 06 ) | [6 empty] | 9
P4 - GFLR - Left Wing - ( Walkway ) |  |  | 5
P4 - FFLR - Right Wing - ( Walkway ) |  |  | 2 |  |  |  | 9
P4 - FFLR - ( P4-101 ) | [6 empty] | 8
P4 - FFLR - ( P4-102 ) | [6 empty] | 8
P4 - FFLR - ( P4-103 ) | [6 empty] | 8
P4 - FFLR - ( P4-104 ) | [6 empty] | 13
P4 - FFLR - ( P4-105 ) | [6 empty] | 12
P4 - FFLR - ( P4-106 ) | [6 empty] | 3
P4 - FFLR. ( Male & Female Toilets ) | [6 empty] | 7
P4 - FFLR. ( Pantry ) | [6 empty] | 1
P4 - FFLR. ( S/W - Rm ) | [6 empty] | 2
P4 - FFLR. ( Store )
P4 - FFLR. ( Office Walkway ) | [6 empty] | 5
P4 - SFLR. ( Office Walkway ) | [6 empty] | 3
P4 - SFLR - ( Open Office) | [6 empty] | 35
P4 - SFLR. ( Male & Female Toilets ) | [6 empty] | 7
P4 - SFLR. ( S/W - Rm ) | [6 empty] | 2
Total |  |  | 44 |  |  |  | 174 |  |  | 40
P5 - BLOCK
P5 - (Receiption) | [7 empty] | 2
P5 - (Passage) | [7 empty] | 15
P5 - (Rm 03 - Hall ) | [7 empty] | 10
P5 - (Rm 05 - 06 - Hall ) | [7 empty] | 8
P5 - (Rm 09 - Hall ) | [7 empty] | 12
P5 - (Rm 15 ) | [7 empty] | 4
P5 - (Rm 16 ) | [7 empty] | 8
P5 - (Rm 22) | [7 empty] | 8
P5 - (Rm 24 ) | [7 empty] | 4
P5 - (Rm 25) | [7 empty] | 8
P5 - (Rm 29) | [7 empty] | 8
P5 - ( Pantry & Toilet Area ) | [7 empty] | 7
Total |  |  | 88 |  |  |  | 0 | 94
PORTA HOUSE - ( MAIN BLOCK )
PTH - ( Receiption ) |  |  | 2
PTH - ( Pantry & Toilet Area ) |  |  | 2
PTH - ( Entry Foya ) |  |  |  |  | 2
PTH - ( Passage ) |  |  | 3
PTH - ( Toilts ) | 6
PTH - ( Pantry ) |  |  | 2
PTH - ( S/W Rm ) |  |  | 2
PTH - ( IT Rm ) |  |  | 2
PTH - ( P - 01 - 02) |  |  | 4
PTH - ( P - 03) |  |  | 2
PTH - ( P - 04) |  |  | 2
PTH - ( P - 06 - 07) |  |  | 4
PTH - ( P - 08 - 10) |  |  | 6
PTH - ( P - 17 - 20) |  |  | 9
PTH - ( P - 21) |  |  | 2
PTH - ( P - 22 - 25) |  |  | 9
PTH - ( P - 26) |  |  | 2
PTH - ( P - 27 - 28) |  |  | 4
PTH - ( P - 29 - 30) |  |  | 4
PTH - ( P - 31 - 32) |  |  | 4
PTH - ( P - 33 - 34) |  |  | 4
PTH - ( P - 35) |  |  | 2
PTH - ( P - 36) |  |  | 2
Total | 6 |  | 73 |  | 2
PORTA HOUSE - ( EXTENSION BLOCK )
PTH - ( Entry Foya ) |  |  |  |  | 1
PTH - ( Right Wing Open Office ) | [6 empty] | 16
PTH - ( Left Wing Open Office ) | [6 empty] | 16
PTH - ( Manager Office ) | [6 empty] | 4
PTH - ( Reprographic Rm ) | [6 empty] | 2
PTH - ( IT & S/W Rms ) | [6 empty] | 2
PTH - ( Passage ) | [6 empty] | 12
PTH - ( Toilets ) | [6 empty] | 4
Total |  |  |  |  | 1 |  | 56
PREFAB A & B - BLOCKS
PRE- A ( IT Rm ) | [6 empty] | 1
PRE- B ( S/W Rm ) | [6 empty] | 1
PRE- A ( Offices ) | [6 empty] | 45
PRE - B ( Offices ) | [6 empty] | 49
Total | [6 empty] | 96
PREFAB C- BLOCK
PRE- C ( Entrance Receiption ) | [5 empty] | 0 | 2
PRE- C ( Left Wing Passage ) |  |  | 11
PRE- C ( Right Wing Passage ) |  |  | 13
PRE- C (S/W Rm ) |  |  | 2
PRE- C ( IT Rm ) |  |  | 4
PRE- C ( Office Rm- 01 - 06 ) |  |  | 20
PRE- C ( Office Rm- 07 - 08 ) |  |  | 6
PRE- C ( Office Rm- 09 ) |  |  | 3
PRE- C ( Office Rm- 10 Pantry ) | 2 |  | 1
PRE- C ( Office Rm- 13 ) |  |  | 4
PRE- C ( Office Rm- 14 ) |  |  | 3
PRE- C ( Office Rm- 15 ) |  |  | 3
PRE- C ( Office Rm- 16 ) |  |  | 6
PRE- C ( Office Rm- 17 - 18 ) |  |  | 12
PRE- C ( Office Rm- 21 Pantry ) | 2 |  | 1
PRE- C ( Office Rm- 22 - 23 ) |  |  | 6
PRE- C ( Office Rm- 24 - 25 ) |  |  | 12
PRE- C ( Office Rm- 26 - 27 ) |  |  | 8
PRE- C ( Office Rm- 28 - 29 ) |  |  | 8
PRE- C ( Office Rm- 30 ) |  |  | 16
PRE- C ( Office Rm - 31 ) |  |  | 4
PRE- C ( Office Rm - 33 ) |  |  | 4
PRE- C ( Office Rm - 34 ) |  |  | 4
PRE- C ( Office Rm- 35 - 40 ) |  |  | 24
PRE- C ( Office Rm- 41 - 46 ) |  |  | 18
PRE- C ( Office Rm- 47 - 50 ) |  |  | 22
PRE- C ( Left Wing Toilet - Rm ) | 6 |  | 2
PRE- C ( Right Wing Toilet - Rm ) | 6 |  | 2
Total | 16 | 0 | 219 |  |  | 0 | 2 | 0 | 0 | 0 | 0
CRECHE -BLOCK -1 (OLD) | [11 empty] | Work in progress
CRE- ( Entrance) |  |  | 2
CRE- ( Receiption ) | [6 empty] | 8
CRE- ( Admin Office ) | [6 empty] | 5
CRE- ( Counsellor Rm) | [6 empty] | 2
CRE- ( Bottle Feeding Rm ) |  |  | 4
CRE- ( Children Kitchen ) |  |  | 2
CRE- ( Breast Feeding ) |  |  | 6
CRE- ( Rm 0 - 12 ) ) |  |  | 10
CRE- ( Rm Main Store 1 ) |  |  | 1
CRE- ( Rm Main Store 2 ) |  |  | 2
CRE- (Staff Kitchen ) |  |  | 3
CRE- (Sleeping Rm 13 - 24 ) |  |  | 10
CRE- (Leaving Rm 13 - 24 ) |  |  | 17
CRE- (Acedemic Rm ) |  |  | 1
CRE- (Electrical Rm ) |  |  | 1
CRE- (IT Rm ) |  |  | 1
Total |  |  | 60 |  |  |  | 15
CRECHE -BLOCK - 2 (NEW) | [11 empty] | LED Fittings
PREFAB D - BLOCK
PRE- D ( Entrance Receiption ) |  |  |  |  | 1 |  | 4
PRE- D ( Office Rm- 1 - 13 ) | [6 empty] | 30
PRE- D ( Office Rm- 2 - 12 ) | [6 empty] | 26
PRE- D ( Passage ) | [6 empty] | 10
Total |  |  |  |  | 1 |  | 70
PREFAB E - BLOCK
PRE- E ( Entrance Receiption ) |  |  | 1 |  | 1
PRE- E ( Office Rm- 1 - 13 ) |  |  | 59
PRE- E ( Office Rm- 2 - 12 )
PRE- E ( Passage )
Total |  |  | 60 |  | 1
PREFAB G- BLOCK
PRE - G ( Entrance Foyer ) |  |  |  |  | 1
PRE - G ( Pantry ) |  |  | 1
PRE - G ( Toilets) |  |  | 6
PRE - G ( Receition ) |  |  | 1
PRE G ( Offices ) |  |  | 56
Total |  |  | 64 |  | 2
PREFAB F & H - BLOCKS
PRE- F & H - ( External ) |  |  |  |  | 3
PRE - F & H - ( Receiption ) | [6 empty] | 6
PRE- F - ( Meeting Rm ) | [6 empty] | 4
PRE- F - ( Left Wing Ofiices ) | 4 |  | 44
PRE- F - ( Passage ) |  |  | 9
PRE- F - ( Toilets ) |  |  | 6
PRE - H - ( Right Wing Ofiices ) | 4 |  | 44
PRE- -H - ( Passage ) |  |  | 9
PRE- -H - ( Toilets ) |  |  | 6
Total | 8 | 0 | 118 |  | 3 |  | 10
PORTAKABINS
PTK ( Pengassan ) | [6 empty] | 11
PTK (Pipeline ) | 2 | [5 empty] | 8 |  |  |  |  | Work in Progress
PTK (Premob by E1 W/Shop ) | [6 empty] | 12
PTK (Police Barrack - 6nos ) |  |  | 24
PTK (Mopol Police in A1 ) | 3 |  | 11
PTK (First Bank -3nos ) |  |  | 6
PTK (Training School - 6nos ) |  |  | 24
PTK (WRD - 3nos ) |  | 1 | 7
PTK (DPR - 3nos ) | [6 empty] | 8
PTK (Warehouse - ROCI 2nos ) |  |  | 8
Total | 5 | 1 | 80 |  |  |  | 39
PRODECO 5 & 6 - BLOCKS
PRO-5 & 6- ( External ) |  |  |  |  | 2
PRO-5 & 6- ( Receiption ) |  |  | 2
PRO-5 - ( Offices ) |  |  | 42
PRO-5 - ( Passage ) |  |  | 9
PRO-5 - ( IT Rm ) |  |  | 2
PRO-5 - ( S/W Rm ) |  |  | 2
PRO-5 - ( Toilets ) | 6
PRO-6 - ( Offices ) |  |  | 42
PRO-6 - ( Passage ) |  |  | 9
PRO-6 - ( IT Rm ) |  |  | 2
PRO-6 - ( S/W Rm ) |  |  | 2
PRO-6 - ( Toilets ) | 6
Total | 12 |  | 112
POICE BARRACK BLOCKS | [11 empty] | Work in Progress
POL BRK ( Block A-1 - Rm 01 - 10 ) |  |  | 10
POL BRK ( Block A-1 - Rm 11 - 20 ) |  |  | 10
POL BRK ( Block A-2 - Laundry &Rest Rm ) |  |  | 5
POL BRK ( Block B-1 - Rm 01 - 10 ) |  |  | 10
POL BRK ( Block B-1 - Rm 11 - 20 ) |  |  | 10
POL BRK ( Block B-2 - Laundry &Rest Rm ) |  |  | 5
POL BRK ( Block C- - Receiption ) |  |  | 3 |  |  |  | 2
POL BRK ( Block C-1 - Main Hall ) | [6 empty] | 27
POL BRK ( Block C-1 - Manager Office -1) | [6 empty] | 4
POL BRK ( Block C-1 - Manager Office -2 ) | [6 empty] | 4
POL BRK ( Block C-1 - Manager Office Corridor) | [6 empty] | 2
POL BRK ( Block C-1 - IT & Elect. Rms ) | [6 empty] | 2
POL BRK ( Block C-1 - MT. Rms ) | [6 empty] | 4
POL BRK ( Block C-1 - Pantry. Rms ) | [6 empty] | 1
POL BRK ( Block C-1 - Store Rms ) | [6 empty] | 1
POL BRK ( Block C-1 - Toilets ) | [6 empty] | 13
POL BRK ( Block C-1 - External ) |  |  | 11
POL BRK ( Block C-2 - Main Hall ) | [6 empty] | 27
POL BRK ( Block C-2 - Conference Rm) | [6 empty] | 8
POL BRK ( Block C-2 - IT & Elect. Rms ) | [6 empty] | 2
POL BRK ( Block C-2 - Toilets ) | [6 empty] | 11
POL BRK ( Block C-2 - External ) |  |  | 11
POL BRK ( Block D- Receiption ) |  |  | 3 |  |  |  | 2
POL BRK ( Block D-1 - Main Hall ) | [6 empty] | 27
POL BRK ( Block D-1 - Manager Office -1) | [6 empty] | 4
POL BRK ( Block D-1 - Manager Office -2 ) | [6 empty] | 4
POL BRK ( Block D-1 - Manager Office Corridor) | [6 empty] | 2
POL BRK ( Block D-1 - IT & Elect. Rms ) | [6 empty] | 2
POL BRK ( Block D-1 - MT. Rms ) | [6 empty] | 4
POL BRK ( Block D-1 - Pantry. Rms ) | [6 empty] | 1
POL BRK ( Block D-1 - Store Rms ) | [6 empty] | 1
POL BRK ( Block D-1 - Toilets ) | [6 empty] | 13
POL BRK ( Block D-1 - External ) |  |  | 11
POL BRK ( Block D-2 - Main Hall ) | [6 empty] | 27
POL BRK ( Block D-2 - Conference Rm) | [6 empty] | 8
POL BRK ( Block D-2 - IT & Elect. Rms ) | [6 empty] | 2
POL BRK ( Block D-2 - Toilets ) | [6 empty] | 11
POL BRK ( Block D-2 - External ) |  |  | 11
POL BRK ( Block E ) | [11 empty] | Work in Progress
POL BRK ( Block E-1 - Rm 01 - Rm04 -Armoury ) |  |  |  | 8
POL BRK ( Block E-1 - Rm 05- Rm 20 ) | [6 empty] | 16
POL BRK ( Block E-1 - External ) |  |  |  |  | 5
POL BRK ( Block E-2 - Laundry &Rest Rm ) |  |  | 5 |  |  |  | 8
POL BRK ( Block F - Rm-01 - 10) |  |  | 10
POL BRK ( Block F - Rm-11 - 20) |  |  | 10
POL BRK ( Block G - Rm-01 - 10) |  |  | 10
POL BRK ( Block G - Rm-11 - 20) |  |  | 10
POL BRK ( Block H - Restaurant Hall) | [6 empty] | 26 |  |  |  |  | Work in Progress
POL BRK ( Block H - Restaurant Wash Area) | [6 empty] | 7
POL BRK ( Block H - Restaurant Toilet) | [6 empty] | 4
POL BRK ( Block H - Restaurant External) |  |  | 4
POL BRK ( Mess Hall Receiption ) | [6 empty] | 3
POL BRK ( Mess Hall ) | [6 empty] | 36 |  |  |  |  | Work in Progress
POL BRK ( Mess Open Offices 1 ) | [6 empty] | 12
POL BRK ( Mess Open Offices 2 ) | [6 empty] | 12
POL BRK ( Mess Open Offices 3 ) | [6 empty] | 6
POL BRK ( Mess Open Offices 4 ) | [6 empty] | 18
POL BRK ( Mess Manager Office ) | [6 empty] | 2
POL BRK ( Mess Pantry ) | [6 empty] | 2
POL BRK ( Mess Toilets ) | [6 empty] | 10
POL BRK ( Mess IT & Elect Rms) | [6 empty] | 2
POL BRK ( Mess Finance Office) | [6 empty] | 6
POL BRK ( Mess Finance Archive) | [6 empty] | 20
POL BRK ( Mess Entranc Office) | [6 empty] | 2
POL BRK ( Block S4B) |  | 1 | 6 |  | 3
Total |  | 1 | 155 | 8 | 8 |  | 408
IA-200 - BLOCK
IA-200 - GFLR-(Entrance ) | [6 empty] | 4 |  |  |  | 6
IA-200 - GFLRR- (MT.Rm 003 ) | [6 empty] | 4 |  |  |  | 8
IA-200 -GLFR. (Energy Hub ) | [10 empty] | 9
IA-200 -GFLR. (MT.Rm 010 ) | [10 empty] | 4
IA-200 -GFLR- (MT.Rm 012 ) | [6 empty] | 1 | 1
IA-200 -GFLR- (Open Office-1 ) | [6 empty] | 32 | 9
IA-200 -GFLR- (Open Office-2 ) | [6 empty] | 27 | 3
IA-200 -GFLR- (Toilets ) | [10 empty] | 17
IA-200 -GFLR- (MT.Rm 018 ) | [10 empty] | 14
IA-200 -GFLR- (Hud. Rm 0040 ) | [6 empty] | 1 | 1
IA-200 -GFLR- (Hud. Rm 0041 ) | [6 empty] | 1 | 1
IA-200 -GFLR- ( S/W Rm ) | [6 empty] | 4 | 1
IA-200 -GFLR- (Open Office-3 ) | [6 empty] | 24 | 12
IA-200 -GFLR- (Open Office-4 ) | [6 empty] | 24 | 12
IA-200 -GFLR- (Office Walkway ) | [6 empty] | 4 | 1
IA-200 -GFLR- (Hud. Rm 30 & 31 ) | [6 empty] | 2 | 2
IA-200 -GFLR- (MT.Rm 0026 ) | [10 empty] | 10
IA-200 -GFLR- (MT.Rm 032 ) | [10 empty] | 9
IA-200 -GFLR- (Hud. Rm 27 & 28 ) | [6 empty] | 2 | 2
IA-200 -GFLR- (PH.BT .Rm 0044 ) | [6 empty] | 1 | 1
IA-200 -FFLR- (PH.BT .Rm 0050 - 0052 ) | [7 empty] | 3
IA-200 -FFLR. (Energy Hub ) | [10 empty] | 15
IA-200 -FFLR- (MT.Rm 0102 ) | [10 empty] | 17
IA-200 -FFLR- (Hud. Rm 0105 ) | [6 empty] | 1 | 1
IA-200 -FFLR- ( IT Rm ) | [6 empty] | 4 | 1
IA-200 -FFLR- (Open Office-1 ) | [6 empty] | 21 | 13 |  |  | 7
IA-200 -FFLR- (MT.Rm 0118 ) | [10 empty] | 7
IA-200 -FFLR- (MT.Rm 0138 & 0139 ) | [10 empty] | 16
IA-200 -FFLR- (MT.Rm 0147 ) | [6 empty] | 5 | 1
IA-200 -FFLR- (Hud. Rm 0141 ) | [6 empty] | 1 | 1
IA-200 -FFLR- (Open Office-2 ) | [6 empty] | 26 | 11
IA-200 -FFLR- (Open Office-3 ) | [6 empty] | 28 | 13
IA-200 -FFLR- (Office Walkway ) | [6 empty] | 8 | 2
IA-200 -FFLR- (Hud. Rm 0132 ) | [6 empty] | 1 | 1
IA-200 -FFLR- (PH.BT .Rm 0103 - 0104 ) | [7 empty] | 2
IA-200 -FFLR- (PH.BT .Rm 0128 - 0131 ) | [7 empty] | 4
IA-200 -FFLR- (Hud. Rm 0127 ) | [6 empty] | 1 | 1
IA-200 -FFLR- (Open Office-4 ) | [6 empty] | 21 | 11
IA-200 -FFLR- (Toilets ) | [10 empty] | 16
IA-200 -FFLR- (HR Office-3 ) | [6 empty] | 8 | 4 |  |  | 5
Total | [6 empty] | 256 | 115 |  |  | 160
ISOLATION CENTER
IS -( PKB-1 ) | [6 empty] | 4
IS -( PKB-2 ) | [6 empty] | 4
IS -( PKB-3 ) | [6 empty] | 4
IS -( PKB-4 ) | [6 empty] | 4
IS -( PKB-5 ) |  |  | 2
IS -( PKB-6 ) |  |  | 2
IS -( PKB-7 ) |  |  | 2
IS -( PKB-8 ) |  |  | 2
IS -( Molecular lab ) |  |  | 8
Total |  |  | 8 |  |  |  | 16 |  |  |  |  | Work in progress
TRAINING SCHOOL - BLOCKS
TRS -1 (Class - Rm 4) | [6 empty] | 16
TRS -1 (Class - Rm 3) | [6 empty] | 16
TRS -1 (Instrumentation & Control ) | [6 empty] | 23
TRS -1 (Well Control ) | [6 empty] | 8
TRS -1 (Production Class rm ) | 10
TRS -1 (Walkway ) |  |  | 10
TRS -1 (General w/shop ) |  |  | 33
TRS -1 (Class Rm-8 & 9 ) |  |  | 12 |  | 12
TRS - 1(Class Rm-10 ) |  |  | 6 |  | 6
TRS -1 (Class Rm-11 ) |  |  | 6 |  | 6
TRS -1 (Toilets Building ) |  |  | 14 |  | 3
TRS -1 (Producton Class Rm ) | [5 empty] | 24
TRS -1 (Coffee Center ) | [5 empty] | 8
TRS -2 ( Rm 3 ) | [6 empty] | 8
TRS -2 (Rm 12 ) | [6 empty] | 4
TRS -2 ( Rm 8 ) | [6 empty] | 8
TRS -2 (Class - Rm 6 & 7) | [6 empty] | 20
TRS -2 (Class - Rm 12) | [6 empty] | 12
TRS -2 (Archive) |  |  | 4
TRS -2 (Toilets) | [6 empty] | 8
TRS -2 (Restaurant)
Total | 10 |  | 85 |  | 27 | 32 | 123 |  |  |  |  | Work in progress
VENDORS SERVICES - BLOCK
VDS -(Down Stair Open Office -1 ) | [6 empty] | 26
VDS -(Down Stair Open Office -2 ) | [6 empty] | 12
VDS -(Down Stair Meeting Rm ) | [6 empty] | 8
VDS -(Down Stair Walkway ) | [6 empty] | 5
VDS -(Down Stair Pantry ) | [6 empty] | 2
VDS -(Down Stair Toilet ) | [6 empty] | 4
VDS -( Staircase) |  |  | 2 |  |  |  | 3
VDS -(Up Stair Open Office ) | [6 empty] | 58
VDS -(Up Stair RC 101 ) | [6 empty] | 3
VDS -(Up Stair RC 102 ) | [6 empty] | 6
VDS -(Up Stair RC 103 ) | [6 empty] | 12
VDS -(Up Stair RC 104 ) | [6 empty] | 3
VDS -(Up Stair RC 105 ) | [6 empty] | 3
VDS -(Up Stair RC 107 ) | [6 empty] | 2
VDS -(Up Stair RC 108 ) | [6 empty] | 3
VDS -(Up Stair Documentation ) | [6 empty] | 3
VDS -(Down Stair Toilet ) | [6 empty] | 4
VDS -(Elect Rm) | [6 empty] | 4
VDS -(IT Rm) | [6 empty] | 4
Total |  |  | 2 |  |  |  | 165
IA WAREHOUSE - BLOCKS
WH -( IT Warehouse-1 ) | [6 empty] | 28
WH -( IT Warehouse-2 ) | [6 empty] | 28
WH -( IT Warehouse Toilet ) | [6 empty] | 6
WH -( NG-1101 - Sub Store ) | 48 |  | 23
WH -( NG-1101 / NG1102 Open Storage ) |  |  | 89
WH -( NG-1102 - Open Office ) |  |  | 24
WH -( NG-1103 ) | [6 empty] | 36
WH -( NG-1103 Outside Storage) |  |  | 48
WH -( NG-1103 Field Staff Office)
WH -( NG-1104 ) |  |  | 38 |  |  |  | 40
WH -( NG-1104 -Office ) | [6 empty] | 6
WH -( NG-1105 ) |  |  | 40
WH -( NG-1105 Office ) |  |  | 3
WH -( NG-1105 External ) |  |  | 12
WH -( NG-1106 ) | [6 empty] | 45
WH -( Manager Office ) | [6 empty] | 6
WH -( Field Staff Bathroom ) |  |  |  |  | 7
WH -( Field Staff Toilets ) |  |  |  |  | 5
WH -( Maintenanace Bay ) |  |  | 6
WH -( Shed Storage ) |  |  | 26
WH -( General Toilet ) | [6 empty] | 8
WH -( R & D -Office ) |  |  | 19 |  |  |  | 20
WH -( NG1102 -R & D ) |  |  | 36
Total | 48 | 48 | 364 |  | 12 |  | 223 |  |  |  |  | Work in progress

## TCO Graphical representation
TYPES | 1 X 18W Batten Fluorescent Fittings (1 X 600mm) | 1 X 36W Batten Fluorescent Fittings (1 X 1200mm) | 2 X 36W Batten Fluorescent Fittings (2 X 1200mm) | 2 X 36W Ceiling Reccessed Modular Fluorescent Fittings (2 X 1200mm) | 2 X 36W WEATHERPROOF Fluorescent Fittings (2 X 1200mm) | 2 X 36W Ex Flourescent Fittings (2 X 1200mm) | 4 X 18W Ceiling Reccessed Modular Fluorescent Fittings (600 X 600mm) | 4 X 18W Ceiling Reccessed Modular Fluorescent Fittings Maintained emergency (600 X 600mm) | 4 X 36W Ceiling Reccessed Modular Fluorescent Fittings (4 X 1200mm) | 2 X 58W Batten Fluorescent Fittings (2 X 1520mm)
Flourescent | 34250 | 58750 | 95750 | 113750 | 113750 | 354506 | 126250 | 136250 | 207500 | 141000
THORN LED EQUIVALENT | 146240 | 176704 | 176704 | 436928 | 278520 | 807840 | 278360 | 639340 | 556928 | 211520
PHILIPS LED EQUIVALENT | 69246.6667 | 95160 | 112198.6667 | 237934.6667 | 170230.6667 | 807840 | 170230.6667 | 607264.6667 | 479734.6667 | 270816