## Water Services
OGUTA FLOW STATION WTP CORRECTIVE & SUNDRY ACTIVITIES
S/N | ACTIVITY DESCRIPTION | QTY | UNIT | MARKET RATE(NGN) | TOTAL AMOUNT(NGN) | REMARK
1 | Mobilisation including HSSE | 1 | L/S | 250000 | 250000 | Community inclusion
2 | Provide 6mm granulated activated carbon | 10 | No | 10000 | 100000 | Due for recharge
3 | Provide 1mm fine sand filter (25kg) | 9 | Bags | 10000 | 90000 | Due for recharge
4 | Provide 6mm coarse sand (25kg) | 9 | Bags | 10000 | 90000 | Due for recharge
5 | Provide 4mm filter gravel (25k) | 9 | Bags | 10000 | 90000 | Due for recharge
6 | Supply and install 5hp 200litres air compressor | 1 | No | 1850000 | 1850000 | Replacement of faulty one
7 | Provide 3hp transfer pump | 2 | No | 400000 | 800000 | Replacement of faulty one
8 | Provide 3hp bosster pump | 2 | No | 400000 | 800000 | Replacement of faulty one
9 | Provide 3hp process pump | 2 | No | 400000 | 800000 | Replacement of faulty one
10 | Provide Electric Motor stirers | 2 | No | 270000 | 540000 | Replacement of faulty one
11 | Supply and install automatic electrical three phase control panel with halesyer board. Provide spares viz: contactors, breakers, transformers & overlaod relay | 1 | No | 950000 | 950000 | Replacement of faulty one
12 | Supply and install 3hp process pump(Dab) | 2 | No | 400000 | 800000 | Replacement of faulty one
13 | Supply and install chemical dosing pump(Grundfos pump) | 2 | No | 450000 | 900000 | Replacement of faulty one
14 | Provide stirrer motor pump | 2 | No | 450000 | 900000 | Replacement of faulty one
15 | Supply and install 2" flow meter | 1 | No | 25000 | 25000 | Replacement of faulty one
16 | Chlorine (45kg) | 1 | bag | 90000 | 90000 | Due for replacement
17 | Provide Hydrated Lime | 3 | Bags | 23000 | 69000 | Due for replacement
18 | Coagulant | 3 | bags | 25000 | 75000 | Due for replacement
19 | Supply and install 2'' adopter | 4 | No | 500 | 2000 | Replacement
20 | Provide union connectors | 2 | No | 3000 | 6000 | Replacement
21 | Provide 2'' socket | 3 | No | 1500 | 4500 | Replacement
22 | Provide Tangit gum (250g) | 3 | No | 3000 | 9000 | Replacement
23 | Provide 2'' ball valve | 2 | No | 1500 | 3000 | Replacement
24 | Provide 2'' elbow (High Presuure) | 2 | Pcs | 1200 | 2400 | Replacement
25 | Provide 2'' socket (High Pressure) | 2 | No | 1500 | 3000 | Replacement
26 | Thread Tape | 2 | No | 2500 | 5000 | Replacement
27 | Logistics | 1 | L/S | 150000 | 150000
28 | Commission and demobilisation from site | 1 | L/S | 60000 | 60000
| TOTAL |  |  |  | 9463900