## DECEMBER 2022
DATE: | 2023-01-25
| Gross Stock (bbls) = | 3151805 | Gross Receipt (bbls) = | 273647.2964 | Water drained from CD Tanks (bbls) = |  |  | 199524 | Terminal Actual Gross Reciept (bbls) = |  | 473171.2964 | Pumpable Stock (bbls) = |  | 1553097.6 | DATE | PRODUCED WATER |  |  | Fire Water |  | FUEL GAS PLANT |  |  |  |  | CD PUMP DISCHARGE |  | INCOMING MANIFOLD | [5 empty] | CRUDE OIL RECEIPT |  | CRUDE OIL STOCK |  | CLP
| Net Stock (bbls) = | 3136828 | Net Receipt (bbls) = | 268919.599 |  | CST Water Drain (bbls) = |  | 924 | Average Gross Reciepts Rate (bbls) = |  | 11401.9707 | Ullage (bbls) = |  | 772128 |  | PROD. H2O | CD WATER | TOTALWATER |  |  | TOTAL GAS |  |  |  | Condensate | FILLING HEADER |  | 28" T/FORC LINE |  | 24" T/RAMOS LINE |  | 12" ESTUARY LINE |  | Gross | Nett | Gross | Net | DEISEL
|  |  | Water in Stock (bbls) = | 14977 | Total water discharged to sea(bbls) = |  |  | 200448 | Average Net Reciepts Rate (bbls) = |  | 11204.9833 | Endurance Days = |  | 2.8216 |  | DISCH | DRAINED | Discharged | Tank 610 | Tank 620 | Produced | Consumed | Flared | Vented | Produced | [8 empty] | Receipt | Receipt | Stock | Stock | Consumed
[16 empty] | PPM | (Bbls) | (Bbls) | (M) | (M) | (mmscfd) | (mmscfd) | (mmscfd) | (mmscfd) | (Bbls) | Water | Sludge | Water | Sludge | Water | Sludge | Water | Sludge | (Bbls) | (Bbls) | (Bbls) | (Bbls) | (Ltrs)
TANK STATUS | [11 empty] | INCOMING CRUDE WATER/SLUDGE CONTENT (AVG) |  |  | 2022-12-01 | 17.35 | 97564.19 | 97564.19 | 8.9 | 7.9 | 3.54 | 3.54 | 0.94784 | 0 | 225 | 0.16% | 0.09% | 13.63% | 0.55% | 1.23% | 0.35% | 28.5% | 0.73% | 110963 | 110785.4592 | 1635775 | 1629937 | 187
Tank No. | LEVEL mm | STATUS | Gross bbls @60/60 | Unpumpable | Pumpable | Potential Pumpable | Ullage Exclude Relief Tank |  | Terminal capacity | Operating capacity | Dead Stock |  | Water Cut | Sludge Content | 2022-12-02 | 20.95 | 62264.71 | 62264.71 | 8.9 | 8.1 | 3.34 | 3.3077 | 0.9058 | 0 | 204 | 0.18% | 0.09% | 17.88% | 0.45% | 8.08% | 0.83% | 30.5% | 0.68% | 164547 | 164250.8154 | 1798073 | 1791438 | 180
201 | 11514 | PUMPED | 324990 | 99050 | 0 | 230803.2 | 224236.8 | 7786 | 549226.8 | 448426.8 | 0.1008 | 28" Trans Forcados | 34.63% | 0.33% | 2022-12-03 | 21.64 | 76807.19 | 76807.19 | 8.8 | 8.1 | 3.44 | 3.42 | 0.94576 | 0 | 214 | 0.16% | 0.09% | 20.63% | 0.3% | 12.15% | 0.78% | 26.75% | 0.43% | 137963 | 137742.2592 | 1934060 | 1926075 | 179
202 | 18769 | READY FOR EXPORT | 537875 | 99050 | 454147.2 | 454147.2 | 15292.8 | 531 | 553167.8 | 466767.8 | 0.0864 | 12" Estuary | 30.5% | 0.21% | 2022-12-04 | 16.78 | 78643.87 | 81030.87 | 8.8 | 8.1 | 3.81 | 3.7802 | 0.94276 | 0 | 202 | 0.18% | 0.09% | 5.4% | 0.35% | 28.25% | 0.7% | 27.88% | 0.44% | 143826 | 141180.1132 | 1784449 | 1778303 | 185
203 | 3363 | NOT IN USE | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 24" Trans Ramos | 0.61% | 0.31% | 2022-12-05 | 16.59 | 76631.07 | 76631.07 | 8.8 | 8.3 | 3.88 | 3.85 | 0.93383 | 0 | 231 | 0.19% | 0.09% | 9% | 0.34% | 39.88% | 0.74% | 27.5% | 0.58% | 140748 | 140480.5788 | 1365970 | 1358982 | 178
204 | 10926 | READY FOR EXPORT | 310308 | 99050 | 228268.8 | 228268.8 | 242323.2 | 8414 | 552631.2 | 466231.2 | 0.0864 | Filling Header | 1.39% | 0.23% | 2022-12-06 | 11.14 | 118843.26 | 118843.26 | 8.8 | 8.4 | 3.88 | 3.85 | 0.95063 | 0 | 209 | 0.18% | 0.11% | 11.75% | 0.45% | 10.25% | 0.7% | 26.75% | 0.64% | 177286 | 176966.8852 | 1483105 | 1475253 | 180
205 | 17461 | READY FOR EXPORT | 488696 | 99050 | 402076.8 | 402076.8 | 52963.2 | 1839 | 541659.2 | 440859.2 | 0.1008 |  |  |  | 2022-12-07 | 14.83 | 159451.5 | 162919.5 | 8.8 | 8.4 | 3.7021 | 3.68 | 0.98886 | 0 | 215 | 0.29% | 0.15% | 37% | 0.73% | 4.13% | 1.08% | 25.25% | 0.95% | 195873 | 191836.9683 | 1672777 | 1666449 | 177
206 | 12620 | SETTLING | 361069 | 99050 | 0 | 277056 | 192384 | 6594 | 553453 | 467053 | 0.0864 | Oil in Water (PPM) = | 28.29 |  | 2022-12-08 | 31.18 | 253285.72 | 253285.72 | 8.8 | 8.6 | 3.7635 | 3.7372 | 0.9513 | 0 | 205 | 3.85% | 0.48% | 70.25% | 0.73% | 8.88% | 0.48% | 25.5% | 1% | 144200 | 138648.3 | 1584290 | 1577991 | 188
207 | 2835 | PUMPED | 82900 | 82900 | 0 | -19152 | 0 | 0 | [6 empty] | 2022-12-09 | 36.86 | 151211.6 | 158550.6 | 8.8 | 8.6 | 3.9951 | 3.9649 | 0.89994 | 0 | 212 | 0.18% | 0.06% | 44.5% | 0.3% | 0.29% | 0.15% | 27.25% | 0.23% | 177240 | 169581.968 | 1171594 | 1167021 | 188
208 | 19271 | READY FOR EXPORT | 544332 | 99050 | 468604.8 | 468604.8 | 0 | 0 | 553453 | 467053 | 0.0864 |  |  |  | 2022-12-10 | 32.6 | 133725.4 | 133725.4 | 8.8 | 8.5 | 3.865 | 4.9463 | 0.92574 | 0 | 211 | 0.1% | 0.06% | 36.25% | 0.33% | 0.88% | 0.18% | 27.25% | 0.3% | 127484 | 127356.516 | 1159157 | 1154062 | 188
209 | 5940 | RELIEF | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 2022-12-11 | 27.34 | 111301.55 | 111301.55 | 8.8 | 8.8 | 3.866 | 3.8518 | 0.90188 | 0 | 218 | 0.09% | 0.05% | 36% | 0.28% | 0.68% | 0.25% | 25% | 0.25% | 127217 | 127102.5047 | 1284665 | 1278546 | 189
210 | 17740 | FILLING ETF: 0949HRS 1/01/2023 | 501635 | 99050 | 0 | 424512 | 44928 | 1560 | 546563 | 460163 | 0.0864 |  |  |  | 2022-12-12 | 21.45 | 151469.49 | 157141.49 | 8.8 | 8.8 | 3.7161 | 3.687 | 0.95525 | 0 | 201 | 1.18% | 0.36% | 35.5% | 0.38% | 1.23% | 0.5% | 31.75% | 0.43% | 276246 | 267314.2972 | 1466796 | 1461584 | 189
TOTAL |  | Gross Stock | 3151805 | 776250 | 1553097.6 | 2466316.8 | 772128 | 26724 | 3850154 | 3216554 | 0.6336 |  |  |  | 2022-12-13 | 17 | 205922.02 | 210914.02 | 8.8 | 9 | 3.5585 | 3.5395 | 0.92581 | 0 | 202 | 0.65% | 0.19% | 44.5% | 0.75% | 1.5% | 0.33% | 26% | 1% | 342568 | 335349.308 | 1841735 | 1833860 | 189
|  | Terminal Gross Stock | 3419921 |  |  |  |  | Check | 3923933 | [5 empty] | 2022-12-14 | 24.54 | 166376.79 | 179642.79 | 8.8 | 9 | 3.6064 | 3.5779 | 0.89196 | 0 | 179 | 0.7% | 0.2% | 21.88% | 0.45% | 12.4% | 0.65% | 29.13% | 0.73% | 298085 | 282732.405 | 1802936 | 1795488 | 189
|  | Terminal Net Stock | 3404531 | [11 empty] | 2022-12-15 | 24.58 | 198273.38 | 209390.38 | 8.8 | 9 | 3.7402 | 3.71 | 0.95289 | 0 | 199 | 1.15% | 0.35% | 28.68% | 0.45% | 1.63% | 0.33% | 26% | 0.73% | 267781 | 253584.5185 | 1474313 | 1468024 | 189
EXPORT STATUS | [14 empty] | 2022-12-16 | 25.92 | 190165.57 | 190165.57 | 8.8 | 9 | 3.4675 | 3.45 | 0.8951 | 0 | 194 | 1.45% | 0.38% | 29% | 0.58% | 1.35% | 0.45% | 25.75% | 0.7% | 350187 | 345109.2885 | 1765936 | 1756918 | 185
VESSEL | Nominated (Bbls) | Loaded (Gbbls) | TANKS | Fisc B/S W/C(%) | Fisc A/S W/C(%) | Start | Stop | Rate-bph | SPM | API |  |  |  |  | 2022-12-17 | 27.06 | 226584.67 | 246288.67 | 8.8 | 9 | 3.4361 | 3.42 | 0.89697 | 0 | 198 | 1.27% | 0.33% | 38.67% | 0.5% | 0.77% | 0.33% | 24.67% | 0.53% | 330000 | 306105 | 2071235 | 2055155 | 185
[15 empty] | 2022-12-18 | 26.55 | 235629.69 | 253336.69 | 8.8 | 9 | 3.5063 | 3.48 | 0.92772 | 0 | 204 | 2.06% | 0.35% | 43.25% | 0.58% | 1.2% | 0.35% | 30.13% | 10.55% | 318003 | 293745.1382 | 2006787 | 1992677 | 188
[15 empty] | 2022-12-19 | 25.12 | 241051.67 | 253721.67 | 8.9 | 9 | 3.6935 | 3.66 | 0.92825 | 0 | 208 | 2.58% | 0.5% | 53.5% | 0.58% | 0.85% | 0.25% | 27.75% | 27.75% | 244180 | 225210.156 | 1914352 | 1901566 | 187
[15 empty] | 2022-12-20 | 30.52 | 221288.49 | 221288.49 | 8.9 | 9 | 3.09 | 3.05 | 0.98296 | 0 | 185 | 2.4% | 0.41% | 46% | 0.43% | 0.43% | 0.14% | 31% | 0.5% | 248721.4124 | 242752.0985 | 1893821 | 1882094 | 186
[15 empty] | 2022-12-21 | 31.82 | 219785.18 | 231211.18 | 8.9 | 9 | 3.406 | 3.39 | 0.91974 | 0 | 202 | 2.2% | 0.33% | 46.25% | 0.23% | 0.83% | 0.33% | 28% | 0.65% | 312134.5053 | 293841.5462 | 2195220 | 2183379 | 179
| TOTAL LOADED | 0 | [12 empty] | 2022-12-22 | 25.86 | 239806.25 | 260752.25 | 8.9 | 9 | 3.6195 | 3.5657 | 0.92479 | 0 | 201 | 2.35% | 0.29% | 50% | 0.4% | 0.98% | 0.3% | 33.5% | 8.35% | 309821.4562 | 281594.652 | 2258727 | 2246073 | 180
[15 empty] | 2022-12-23 | 29.28 | 215809.9 | 215809.9 | 8.9 | 9 | 3.6114 | 3.59 | 0.9059 | 0 | 189 | 2.14% | 0.26% | 33.75% | 0.36% | 0.49% | 0.44% | 27.38% | 1.3% | 321738.5878 | 314853.382 | 2052381 | 2040910 | 178
FUEL GAS PLANT | [5 empty] | FIXED ROOF TANKS STATUS | [8 empty] | 2022-12-24 | 25.42 | 224666.22 | 257979.22 | 8.9 | 9 | 3.547 | 3.5206 | 0.92793 | 0 | 185 | 0.29% | 0.15% | 32.25% | 0.2% | 0.7% | 0.4% | 27% | 0.35% | 312700.0801 | 278480.2499 | 2331765 | 2327434 | 180
PRESSURE (Barg) |  | 78.4 | TOTAL GAS Consumed (mmscfd) | 2.88 |  | CD Tank | Level (m) | DCS Interface Level (m) | Difference | Quantity in bbls |  |  |  |  | 2022-12-25 | 28.95 | 220212.9 | 239824.9 | 8.9 | 8.9 | 3.5 | 3.47 | 0.90541 | 0 | 186 | 3.75% | 0.15% | 47% | 0.2% | 0.6% | 0.4% | 26% | 0.38% | 303667.4324 | 272667.9037 | 2616363 | 2601657 | 181
FODP-A Gas Produced (mmscfd) |  | 2.92 | HP/LP let down (mmscfd) | 0.77575 |  | 101 | 0 | 0 | 0 | 0 |  |  |  |  | 2022-12-26 | 32.04 | 208362.54 | 229923.54 | 8.9 | 8.7 | 3.5168 | 3.5203 | 0.91992 | 0 | 176 | 1.93% | 0.34% | 42% | 0.38% | 0.76% | 0.34% | 27.63% | 0.58% | 310708.3827 | 283150.7109 | 2906334 | 2890661 | 180
HP Consumed (mmscfd) [Turbine Consumption (mmscfd)] |  | 2.54 | Gas Flared (mmscfd) | 0.77575 |  | 102 | 14.556 | 8.238 | 6.318 | 69498 |  |  |  |  | 2022-12-27 | 26.08 | 152532.5 | 158156.5 | 8.9 | 8.6 | 3.65 | 3.6211 | 0.93199 | 0 | 194 | 1.99% | 0.18% | 19.08% | 0.23% | 0.65% | 0.45% | 21.56% | 0.38% | 253501.3882 | 242832.7105 | 3010067 | 2996421 | 187
LP Consumed (mmscfd) | TITAN Gas Consumption (mmscfd) | 0 | Condensate (bbls) | 181 |  | Skim Tank | [8 empty] | 2022-12-28 | 20.01 | 105753.77 | 109798.77 | 8.9 | 8.6 | 4.0147 | 3.9749 | 0.94025 | 0 | 183 | 0.15% | 0.15% | 1.03% | 0.28% | 0.9% | 0.49% | 26.63% | 0.25% | 106289.3102 | 102084.8762 | 2270184 | 2259785 | 190
| KTI Heater Consumption (mmscfd) | 0 |  |  |  | 601 | 3.95 | 2 | [6 empty] | 2022-12-29 | 12.1 | 143267.33 | 150808.33 | 8.9 | 8.8 | 3.8098 | 3.7894 | 0.88762 | 0 | 168 | 0.13% | 0.19% | 12.28% | 0.45% | 0.41% | 0.36% | 25.88% | 0.38% | 165834.1793 | 158077.5948 | 2594600 | 2581457 | 187
| LP Train on Stream (mmscfd) | 0.34001 | Flare Quality (Ringelmann) | 0 |  | 602 | 7.465 | 1.19 | [6 empty] | 2022-12-30 | 20 | 197399.07 | 198496.07 | 8.9 | 8.8 | 3.8742 | 3.8369 | 0.93623 | 0 | 179 | 2.55% | 0.2% | 48.75% | 0.35% | 0.4% | 0.38% | 23.5% | 0.35% | 262520.5907 | 254729.3156 | 2884547 | 2581457 | 185
| LP Distribn A & B Consumed (mmscfd) | 0.34001 |  |  |  | Fire Water tank | RM Pressure | Tank 610 | Tank 620 | [5 empty] | 2022-12-31 | 28.29 | 199524 | 200448 | 8.9 | 8.8 | 2.92 | 2.88 | 0.77575 | 0 | 181 | 1.39% | 0.23% | 34.63% | 0.33% | 0.61% | 0.31% | 30.5% | 0.21% | 273647.2964 | 268919.599 | 3151805 | 3136828 | 186
[7 empty] | 8.33 | 8.9 | 8.8
CLP DIESEL FUEL MANAGEMENT |  |  | PTW MANAGEMENT
Consumed (ltrs) | 186 |  | Breakdown of Active Permits |  |  | Alarm Management |  |  | LTI FREE DAYS (22 YEARS)
Stock (ltrs) | 17395 |  | Core Zone | 5 |  | Total Alarms/day | 0 |  |  | From | Days
Minimum Stock (ltrs) | 3000 |  | Secondary Zone | 3 |  | Standing Alarms | 6 |  | Past 24 Hrs | 8158 | 36793
Reorder Level (ltrs) | 5000 |  | Total Active Permits | 8 |  | Average/hr | 0 |  | Monthly | 2016-03-09 | 2514
Maximum Stock (ltrs) | 20000 |  | Closed | 6 |  |  |  |  | YTD | 2016-03-01 | 2522
Endurance (days) | 77.3925 |  | New Permit | 4 |  | POB |  |  | Last Incident | 2000-09-24 | 8159
|  |  | Inactive /Suspended | 13 |  | FOT Accommodn | 240 |  | Last Drill | 2022-12-24 |  |  |  |  | TOTAL | 749.85 | 5283611.49 | 5508022.49 | 274.3 | 269.8 | 112.3655 | 112.6615 | 28.6268 | 0 | 6160 | 37.87% | 6.9% | 1010% | 12.92% | 143.4% | 13.77% | 847.9% | 62.33% | 7255681.6216 | 6929067.1188 | 61383819 | 60797485 | 5719
|  |  | High Risk Jobs | 3 |  | GRAND TOTAL | 360 |  | Last HSSE meeting | 2022-12-23 |  |  |  |  | AVERAGE | 24.1887 | 170439.0803 | 177678.1448 | 8.8484 | 8.7032 | 3.6247 | 3.6342 | 0.92344 | 0 | 198.7097 | 0.012216 | 0.0022258 | 32.59% | 0.4168% | 4.625% | 0.4442% | 27.35% | 2.011% | 234054.2459 | 223518.2942 | 1980123.1935 | 1961209.1935 | 184.4839
|  |  | Hot Work Jobs | 3
`
Note on C16: The actual level in the CST209 is 16,234mm as a result of the dyed water from TRP line flush
Note on E18: Line flush from SPM 2 =1108bbs
Note on E19: Line flush from SPM 2 =1108 - 103bbs
Note on K19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Line Flush SPM2 1370
Note on E20: Line flush from SPM 2 =-(674+86)bbls
Note on D27: Stopped loading on ship request.

## EQPT STATUS
FOT KEY EQUIPMENT STATUS CORE ZONE | [16 empty] | 2022-12-31
CRUDE STORAGE TANKS | [10 empty] | CD TANKS |  |  | SKIM TANKS
201 | 202 | 203 | 204 | 205 | 206 | 207 | 208 | 209 | 210 |  | 101 | 102 |  | 601 | 602
UP | UP | DN | UP | UP | UP | UP | UP | DN | UP |  | DN | UP |  | SB | SB
DEHYDRATION PUMPS | [6 empty] | BOOSTER PUMPS | [5 empty] | TRANSFER PUMPS |  |  | EXPORT PUMPS
P101 | P102 | P103 | P104 | P105 | P106 |  | P301 | P302 | P303 | P304 | P305 |  | P355 | P356 |  | P401 | P402 | P403 | P404 | P405
SB | UP | SB | DN | SB | SB |  | SB | SB | SB | SB | SB |  | SB | SB |  | DN | SB | DN | DN | DN
DEHYDRATION PUMPS P101: FIRE WATER PUMPS; DEHYDRATION PUMPS P106: WATER DISPOSAL PUMPS |  |  |  | SKIMMING PIT PUMPS |  |  | RECOVERED OIL PUMPS (COC) |  |  | EMULSION PUMPS
Jockey P922 | Jockey P923 | P931 | P932 |  | P1101 | P1102 | P1103 |  | P1111 | P1110 |  | P1611 | P1612 |  | P601 | P602 | P603
UP | SB | SB | SB |  | DN | UP | SB |  | UP | SB |  | SB | SB |  | SB | DN | SB
DEHYDRATION PUMPS P101: GAS TURBINES | [6 empty] | BLACK-START GEN. |  |  |  |  | DCS & SGS
GT800 | GT810 | GT820 | GT830 | GT840 | GT850 | REMARKS | [5 empty] | GD890 | GD891 | Jetty Gen | Accm. Gen |  | HIS | SGS
UP | SB | UP | UP | DN | DN | [6 empty] | SB | SB | SB | SB |  | UP | UP
GAS TURBINES GT800: DYNAMIC METERS |  | OTHER KEY EQUIPMENT |  |  |  |  | DM ACCESSORIES | [5 empty] | SAVER PIT PUMPS
TM1 | TM2 | TM3 | TM4 | TM5 | TM6 |  | CLP Cranes | RVs | Vessels |  | Auto sampler |  | Prover loop accessories |  |  |  |  | PP1 | PP2
[7 empty] | UP | OK | OK |  | SB | SB | SB | SB |  |  |  | DN | DN | bar: DYNAMIC METERS TM1 to DYNAMIC METERS TM6
DYNAMIC METERS TM1: EMULSION TREATMENT; DYNAMIC METERS TM6: FUEL GAS PLANT |  |  |  | AIR COMPRESSORS |  |  |  | CENTRIFUGE |  |  |  | FIRE FOAM STATION
Heater F601 | Heater F602 | Scrub Ves A 610 | Scrub Ves B 611 |  | T1 | T2 | T3 |  | K1201 | K1202 | K1203 |  | S901 | S902 | S903 |  | A901 | A902 | A903 | A904
[6 empty] | UP | DN |  | SB | UP | SB |  | SB | SB | UP |  | SB | SB | SB | SB | bar: DYNAMIC METERS TM1 to DYNAMIC METERS TM4; DYNAMIC METERS TM6
M1151 A | M1151 B | M1151C | M1151D | M1152A | M1152B | M1152C | M1152D | M1153A | M1153B | M1153C | M1153D | M1154A | M1154 B | M1154 C | M1154D | M1155A | M1155 B | M1155C | M1155D | REMARKS
[6 empty] | UP | UP | UP | UP | UP | UP | SB | SB | SB | SB | SB | SB | SB | SB | bar: DYNAMIC METERS TM1 to DYNAMIC METERS TM6
CPI TANKS
C1101 | C1102 | C1103 | C1104 | C1105 | C1106 | C1107 | C1108 | C1109 | C1110 | C1111 | C1112 | C1113 | C1114 | C1115 | C1116 | C1117 | C1118 | C1119 | C1120
UP | UP | UP | UP | UP | UP | DN | DN | DN | UP | DN | UP | UP | UP | UP | SB | UP | DN | UP | UP
IGF UNIT
[13 empty] | IGF1 | IGF2 | IGF3 | IGF4 | IGF5
[13 empty] | DN | UP | UP | DN | DN
CLP GEN |  |  | SBMS |  |  | HV SWITCHGEAR TRANSFORMER |  |  | CLP VALVES A & B
GD910 | GD911 |  | SPM1 | SPM2 |  | Switch gear | Trans former |  | A | B
UP | DN |  | SB | DN |  | UP | UP |  | SB | DN
| FIRE H20 TANKS |  |  | PORTABLE WATER PUMPS |  |  |  | COLD ROOMS |  |  |  | WATER WELLS SUMO PUMPS |  |  |  |  | HVAC SYSTEM
| 610 | 620 |  | P1801 | P1802 |  |  | 1 | 2 | 3 |  | P1 | P2 | P3 |  |  |  | Remarks
| UP | SB |  | UP | SB |  |  | UP | UP | UP |  | UP | UP | DN |  |  | OK | MOB CU-01 AND SOUTH TERMINAL SUBSTATION 304 ARE UNDERGOING MTCE
LEGEND:
UP: Running or in use | [6 empty] | SB: Standby |  |  |  |  | DN: Down for 1 or 2 reasons
Note on B4: David, Emmanuel E SPDC-UPC/G/UWT: EXPORTING
Note on C4: NOT IN USE
Note on F4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: FILLING
Note on G4: Tank on Relief NOTE:Tank can not be use for export due to expired calibration certificate.
Note on I4: NOT IN USE
Note on L4: Tank Under Mtce
Note on D8: Down due to frequent tripping of transformer.
Note on S8: Iyoha, Esosa S SPDC-UPC/G/UWT: DOWN ON VIBRATION AND ELECTRICAL FAULT
Note on U8: Iyoha, Esosa S SPDC-UPC/G/UWT: DOWN ON VIBRATION
Note on F12: Down due to unsual noise
Note on Q12: P-602 due to blow off hatch mtce
Note on E16: Faulty Exciter winding.
Note on A20: Failed recertification
Note on S20: Up grade completed, awaiting 90days reliability test.
Note on T20: Up grade completed, awaiting 90days reliability test.
Note on A24: CRO Down on start failure
Note on B24: OUT FOR MAINTENANCE
Note on H24: Faulty Exciter winding. Down on Primary Heater failure
Note on R24: Closed Manual Valve on Fire Foam Stn A – 901 Injection line (FS – 1012 – 1841X) to CDT 101 (M/V @ CDT 101 area).
Note on E32: ISOLATED FOR DEFECTIVE COALESCER
Note on G32: ISOLATED FOR DEFECTIVE COALESCER
Note on I32: ISOLATED FOR DEFECTIVE COALESCER
Note on K32: ISOLATED FOR FAULTY WATER OUTLET MANUAL VALVE
Note on R32: ISOLATED FOR DEFECTIVE COALESCER
Note on N36: down due to faulty LCV
Note on P36: NGG804-F: DOWN DUE TO LCV FAILURE
Note on Q36: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Down due to faulty LCV
Note on B40: Anaweokhai, Esther A SPDC-UPO/G/UWT: Maintenance Activities
Note on E40: Anaweokhai, Esther A SPDC-UPO/G/UWT: Maintenance Activities
Note on K40: Maintenance Activities
Note on O47: Down due to burnt motor
Note on S47: FOT MECHANICAL TECH: PCB-102 COMPRESSOR AND MOB CU-01 AND SOUTH TERMINAL SUBSTATION 304, ARE UNDERGOING MTCE.

## Report Summary
DATE | PRODUCED WATER |  |  | Fire Water |  | FUEL GAS PLANT |  |  |  |  | CD PUMP DISCHARGE |  | INCOMING MANIFOLD | [5 empty] | CRUDE OIL RECEIPT |  | CRUDE OIL STOCK |  | CLP
| PROD. H2O | CD WATER | TOTALWATER |  |  | TOTAL GAS |  |  |  | Condensate | FILLING HEADER |  | 28" T/FORC LINE |  | 24" T/RAMOS LINE |  | 12" ESTUARY LINE |  | Gross | Nett | Gross | Net | DEISEL
| DISCH | DRAINED | Discharged | Tank 610 | Tank 620 | Produced | Consumed | Flared | Vented | Produced | [8 empty] | Receipt | Receipt | Stock | Stock | Consumed
| PPM | (Bbls) | (Bbls) | (M) | (M) | (mmscfd) | (mmscfd) | (mmscfd) | (mmscfd) | (Bbls) | Water | Sludge | Water | Sludge | Water | Sludge | Water | Sludge | (Bbls) | (Bbls) | (Bbls) | (Bbls) | (Ltrs)
TODAY | 28.29 | 199524 | 200448 | 8.9 | 8.8 | 2.92 | 2.88 | 0.77575 | 0 | 181 | 1.39% | 0.23% | 34.63% | 0.33% | 0.61% | 0.31% | 30.5% | 0.21% | 273647.2964 | 268919.599 | 3151805 | 3136828 | 186