## Slide 1: Emergency gen set restoration
Cost Reduction
Background
Power trip that caused APP to high land, Emergency gen set could not come up
Workshop team was invited to support, cost of repair was advised
Okoloma Electrical team successful restored the Emergency Generator after three days unsuccessful attempt to resolve the hard start fault. With effective collaboration, the team, went back to basis troubleshot through all terminations, contacts and the gen set controls and was able to start the emergency gen saving cost of over N3,300,000 - cost which was advised by the workshop team as the cost of repair.
Cost Savings
Cost of spares and workshop intervention
FCF: $2,097
What the Team did
Team
Uju Anthony, Onyenagbagha Tochukwu, Agindotan Mohammed, Thomas Harrison

## Slide 2: DIY project to install an auto drain.
Cost Reduction
Background
To further reduce moisture in the instrument air system, Gelor and team, embarked on a DIY project to install an auto drain on the instrument air vessel.
Installed an auto drain system on the instrument air receiver(vessel). This is to automatically eliminate moisture ingress to the process and automation equipment. Keeping them more available by reducing frequent breakdown due to moisture.
Cost Savings
$8,013.4 being the cost of cables, BEKOMAT drain valve
Availability of Instrument Air Compressors 09 and 08.
FCF: $2, 851
What the Team did
Team
Gelor Agberhia, Princewill Alucho

## Slide 3: FENWALL FIRE PANEL REPLACEMENT
Cost Reduction
Background
Replacement of the fire panel without OEM intervention and without trip
The fire panel in the workshop building at Okoloma Gas plant failed in operation, after much troubleshooting, Gelor displayed skill and dedication to duty when he skillfully installed and tied-in the new fire panel into the safety system without trip, restoring the system back to normalcy and saving about $2000, the cost of getting the OEM rep to install and commission.
Cost Savings
Cost of getting a Paco Engineer to intervene $2,000
FCF: $524
What the Team did
Team
Gelor Agberhia and Princewill Alucho

## Slide 4: DIY Diesel Gen hook-up and termination at IMOF1
Cost Reduction
Background
We could not flow the 2 oil wells at Okoloma Gas plant due to the shutdown valve
which will not open.
Gelor and Ukpai are recognized for their integrated effort and display of wealth of experience in resolving the issues with the oil test separator in Imo River. The fault was on the SIS Logic, which was supposed to be configured to 50LIT103 on PAS DCS1, they restored the lost value and unit reset was successfully done. Production of the oil wells has fully commenced due to this achievement
Cost Savings
$5000 per day was achieved
Production of 2,900bbl/d available due to this intervention
FCF: $3,926
What the Team did
Team
Chimezie Nwulu, Ukpai Agwu, Gelor Agberhia