## Sheet1 (2)
Golf Course Chemicals Savings
MONTH | VOLUME (L) | PERIODS | DESCRIPTION
2025-01-01 | 102986295 | Peak Months | Months of elevated usage due to very sparse rainfall
2024-02-01
2024-03-01 |  | Transition Months | Transition period from dry to rainy season. Here demand for additional water is reduced.
2024-04-01
2024-05-01 |  | Baseline Months | These are months with minimal or no additional water usage at the golf course due to frequent rainfalls
2024-06-01
2024-07-01 | 62555420
2024-08-01 | 67739205
2024-09-01 | 62334185
2024-10-01 | 68082030 | Transition Month | Transition period from rainy to dry season. Here demand for additional water is reduced.
2024-11-01 | 78926850 | Peak Months | Months of elevated usage due to very sparse rainfall
2024-12-01 | 104040420
Avg Peak Month |  |  | 95317855
Avg Transition Month |  |  | 68082030
Avg Baseline month |  |  | 64209603.3333
Avg Peak - Avg Transition |  |  | 3872426.6667
Avg Peak - Avg Baseline |  |  | 31108251.6667
Transition Months Volume |  |  | 3872426.6667
Peak Months Volume |  |  | 124433006.6667
1 Drum of HTH Chlorine (45Kg) | 20 Litres
Chlorine dilution for 65% conc | 1 (cl) :154,761 (H2O)
Chl consumption @ Transition | 3,872,426.67/ 154,761 |  | 25.022
Chl consumption @ Peak | 124,433,006.67 / 154,762 |  | 804.0334
Drums of chlorine consumed
Drums of cl @ Transitions Mon | 25.02 / 20 |  | 1.2511
Drums of cl @ peak Mon | 804.03 / 20 |  | 40.2017
Total Drums of Cl consumed |  |  | 41.4528
cost of chlorine used/year | 41.45 x $420 |  | 17410.1621